## Contractor Info
As-built Asset Table
Project Name: | Cameron Oaks Ph. 2
Contractor Company Name: | Pipeline Constructors
Contractor Contact Number: | (904) 964-2019
Surveyor or Engineer Company Name: | Ray Thompson Surveying Inc.
Surveyor or Engineer Contact Number: | 6146
Ray Thompson Surveying Inc.
1825 University Boulevard West
Jacksonville, Florida 32217
904-448-5125

## Fire Hydrant
Feature ID | Plan Sheet Number | Model Number | Manufacturer | Direction to Open | Fire Hydrant Size | Year of Installation | Date of Installation | Main Size @ F.H. Connection | Manufacturer Year | Owned By | Current Doc. # (CCUA Use Only) | Fire Hydrant # (CCUA Use Only)
WM_FIREHYD_1 | W-1 | A-423 | Mueller Co. | Turn left to open valve | 6" | 2020 | 2020-08-28 | 6" | 2020 | CCUA
WM_FIREHYD_2 | W-2 | A-423 | Mueller Co. | Turn left to open valve | 6" | 2020 | 2020-08-28 | 6" | 2020 | CCUA
WM_FIREHYD_3 | W-3 | A-423 | Mueller Co. | Turn left to open valve | 6" | 2020 | 2020-08-28 | 6" | 2020 | CCUA
2020
2020
2020

## Valve
Feature ID | Plan Sheet Number | Valve Type | Direction to Open | Valve Size | Year of Installation | Type of Joint Fitting | Main Type | Model Number | Manufacturer | # Of Turns To Open | Material Transition | Survey Elevation | Owned By | Current Doc. # (CCUA Use Only)
RE_VALVE_1 | R-1 | Gate Valve | Turn left to open valve | 6" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 20.5 | No | 34.91 | CCUA
RE_VALVE_2 | R-1 | Gate Valve | Turn left to open valve | 12" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 26.5 | No | 35.11 | CCUA
RE_VALVE_3 | R-1 | Gate Valve | Turn left to open valve | 4" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 14 | No | 33.01 | CCUA
RE_VALVE_4 | R-3 | Gate Valve | Turn left to open valve | 4" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 14 | No | 29.84 | CCUA
RE_VALVE_5 | R-3 | Gate Valve | Turn left to open valve | 4" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 14 | No | 30.25 | CCUA
RE_VALVE_6 | R-1 | Gate Valve | Turn left to open valve | 4" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 14 | No | 30.25 | CCUA
WM_VALVE_1 | W-1 | Gate Valve | Turn left to open valve | 6" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 20.5 | No | 34.94 | CCUA
WM_VALVE_2 | W-1 | Gate Valve | Turn left to open valve | 6" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 20.5 | No | 33.35 | CCUA
WM_VALVE_3 | W-1 | Gate Valve | Turn left to open valve | 8" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 26.5 | No | 34.79 | CCUA
WM_VALVE_4 | W-1 | Gate Valve | Turn left to open valve | 12" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 38.5 | No | 35.45 | CCUA
WM_VALVE_5 | W-2 | Gate Valve | Turn left to open valve | 6" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 20.5 | No | 37.89 | CCUA
WM_VALVE_6 | W-3 | Gate Valve | Turn left to open valve | 8" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 26.5 | No | 30.83 | CCUA
WM_VALVE_7 | W-3 | Gate Valve | Turn left to open valve | 6" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 20.5 | No | 30.37 | CCUA
WM_VALVE_8 | W-3 | Gate Valve | Turn left to open valve | 6" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 20.5 | No | 30.37 | CCUA
WM_VALVE_9 | W-1 | Gate Valve | Turn left to open valve | 8" | 2020 | Mechanical Joint | Water | A-2361 | Mueller | 26.5 | No | 32.46 | CCUA

## RPZ
Feature ID | Plan Sheet Number | Size of RPZ | Year of Installation | Material Transition | Type of Joint Fitting | Owned By | Current Doc. # (CCUA Use Only)

## Bends
Feature ID | Plan Sheet Number | Main Type | Fitting Size | Material Type | Year of Installation | Type of Joint Fitting | Bend Used To Avoid Conflict | Degree Of Bend | Survey Elevation | Material Transition | Current Doc. # (CCUA Use Only)
RE_11.25_BEND_1 | R-3 | Reuse | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 11-1/4 Degree | 29.11 | No
RE_11.25_BEND_2 | R-3 | Reuse | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 11-1/4 Degree | 30.88 | No
RE_11.25_BEND_3 | R-3 | Reuse | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 11-1/4 Degree | 29.29 | No
RE_22.5_BEND_1 | R-2 | Reuse | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | 41.3 | No
RE_22.5_BEND_2 | R-2 | Reuse | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | 39.82 | No
RE_22.5_BEND_4 | R-3 | Reuse | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | 31.08 | No
RE_45_BEND_1 | R-1 | Reuse | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 45 Degree | 30.46 | No
RE_45_BEND_2 | R-1 | Reuse | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 45 Degree | 31.69 | No
RE_45_BEND_3 | R-1 | Reuse | 2" | PVC | 2020 | Glued | No | 45 Degree | 38.15 | No
RE_45_BEND_4 | R-1 | Reuse | 2" | PVC | 2020 | Glued | No | 45 Degree | 38.2 | No
RE_45_BEND_5 | R-1 | Reuse | 2" | PVC | 2020 | Glued | No | 45 Degree | 38.28 | No
RE_BEND_TURNED_1 | R-1 | Reuse | 4" | Ductile Iron | 2020 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 31.66 | No
RE_BEND_TURNED_2 | R-1 | Reuse | 4" | Ductile Iron | 2020 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 30.57 | No
WM_11.25_BEND_1 | W-1 | Water | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 11-1/4 Degree | 37.48 | No
WM_11.25_BEND_2 | W-1 | Water | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 11-1/4 Degree | 37.41 | No
WM_11.25_BEND_3 | W-1 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 11-1/4 Degree | 28.54 | No
WM_11.25_BEND_4 | W-1 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 11-1/4 Degree | 28.52 | No
WM_11.25_BEND_5 | W-1 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 11-1/4 Degree | 28.96 | No
WM_22.5_BEND_1 | W-1 | Water | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | 37.8 | No
WM_22.5_BEND_2 | W-1 | Water | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | 40.04 | No
WM_22.5_BEND_3 | W-1 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | 29.92 | No
WM_45_BEND_1 | W-1 | Water | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 45 Degree | 37.67 | No
WM_45_BEND_10 | W-3 | Water | 2" | PVC | 2020 | Glued | No | 45 Degree | 29.17 | No
WM_45_BEND_11 | W-3 | Water | 2" | PVC | 2020 | Glued | No | 45 Degree | 29.41 | No
WM_45_BEND_2 | W-1 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 45 Degree | 31.85 | No
WM_45_BEND_3 | W-1 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 45 Degree | 31.82 | No
WM_45_BEND_4 | W-1 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 45 Degree | 32.47 | No
WM_45_BEND_5 | W-2 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 45 Degree | 32.45 | No
WM_45_BEND_6 | W-1 | Water | 2" | PVC | 2020 | Glued | No | 45 Degree | 37.61 | No
WM_45_BEND_7 | W-2 | Water | 2" | PVC | 2020 | Glued | No | 45 Degree | 40.05 | No
WM_45_BEND_8 | W-2 | Water | 2" | PVC | 2020 | Glued | No | 45 Degree | 39.59 | No
WM_45_BEND_9 | W-2 | Water | 2" | PVC | 2020 | Glued | No | 45 Degree | 39.89 | No
WM_90_BEND_1 | W-1 | Water | 12" | Ductile Iron | 2020 | Mechanical Joint | No | 90 Degree | 40.31 | No
WM_90_BEND_2 | W-1 | Water | 12" | Ductile Iron | 2020 | Mechanical Joint | No | 90 Degree | 40.37 | No
WM_BEND_TURNED_1 | W-1 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | Yes, Turned | 45 Degree | 34.69 | No
WM_BEND_TURNED_2 | W-1 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | Yes, Turned | 45 Degree | 32.71 | No
WM_BEND_TURNED_3 | W-1 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | Yes, Turned | 45 Degree | 31.27 | No
WM_BEND_TURNED_4 | W-1 | Water | 8" | Ductile Iron | 2020 | Mechanical Joint | Yes, Turned | 45 Degree | 28.88 | No

## Fittings
Feature ID | Plan Sheet Number | Main Type | Fitting Type | Fitting Size | Material Type | Year of Installation | Type of Joint Fitting | Owned By | Survey Elevation | Material Transition | Current Doc. # (CCUA Use Only)
RE_FLUSHHYD__4 | R-3 | Reuse | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 30.11 | No
RE_REDUCER_1 | R-1 | Reuse | Reducer | 4"X2" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 38.25 | No
RE_REDUCER_2 | R-2 | Reuse | Reducer | 4"X2" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 38.25 | No
RE_REDUCER_3 | R-3 | Reuse | Reducer | 6"X4" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 29.74 | No
RE_REDUCER_4 | R-3 | Reuse | Reducer | 4"X2" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 29.74 | No
RE_TAP_CAP_wFLHYD_1 | R-1 | Reuse | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 38.19 | No
RE_TAP_CAP_wFLHYD_2 | R-1 | Reuse | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 40.9 | No
RE_TAP_CAP_wFLHYD_3 | R-3 | Reuse | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 30.11 | No
RE_TEE_1 | R-1 | Reuse | Tee | 12"X6" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 33.99 | No
RE_TEE_2 | R-1 | Reuse | Tee | 12"X6" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 34.38 | No
RE_TEE_3 | R-3 | Reuse | Tee | 6"X4" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 29.77 | No
WM_FLUSHHYD_1 | W-1 | Water | Flushing hydrant (or blow-off) | 2" | Stainless Steel | 2020 | Mechanical Joint | CCUA | 38.48 | No
WM_FLUSHHYD_2 | W-3 | Water | Flushing hydrant (or blow-off) | 2" | Stainless Steel | 2020 | Mechanical Joint | CCUA | 37.05 | No
WM_FLUSHHYD_3 | W-3 | Water | Flushing hydrant (or blow-off) | 2" | Stainless Steel | 2020 | Mechanical Joint | CCUA | 32.21 | No
WM_FLUSHHYD_4 | W-3 | Water | Flushing hydrant (or blow-off) | 2" | Stainless Steel | 2020 | Mechanical Joint | CCUA | 33.82 | No
WM_FLUSHHYD_5 | W-1 | Water | Flushing hydrant (or blow-off) | 2" | Stainless Steel | 2020 | Mechanical Joint | CCUA | 36.27 | No
WM_FLUSHHYD_6 | W-1 | Water | Flushing hydrant (or blow-off) | 2" | Stainless Steel | 2020 | Mechanical Joint | CCUA | 38.17 | No
WM_REDUCER_1 | W-1 | Water | Reducer | 4"X2" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 37.62 | Yes
WM_REDUCER_2 | W-1 | Water | Reducer | 6"X4" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 34.33 | No
WM_REDUCER_3 | W-1 | Water | Reducer | 8"X6" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 32.23 | No
WM_REDUCER_4 | W-2 | Water | Reducer | 8"X4" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 36.84 | No
WM_REDUCER_5 | W-3 | Water | Reducer | 8"X4" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 31.9 | No
WM_REDUCER_6 | W-3 | Water | Reducer | 8"X4" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 28.5 | No
WM_REDUCER_7 | W-3 | Water | Reducer | 8"X6" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 28.5 | No
WM_REDUCER_8 | W-1 | Water | Reducer | 4"X2" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 37.62 | Yes
WM_TAP_CAP_wFLHYD_1 | W-1 | Water | Flushing hydrant (or blow-off) | 2" | Stainless Steel | 2020 | Thread / Slip | CCUA | 38.33 | No
WM_TAP_CAP_wFLHYD_2 | W-1 | Water | Flushing hydrant (or blow-off) | 2" | Stainless Steel | 2020 | Thread / Slip | CCUA | 38.33 | No
WM_TAP_CAP_wFLHYD_3 | W-3 | Water | Flushing hydrant (or blow-off) | 2" | Stainless Steel | 2020 | Thread / Slip | CCUA | 28.74 | No
WM_TAP_CAP_wFLHYD_4 | W-1 | Water | Flushing hydrant (or blow-off) | 2" | Stainless Steel | 2020 | Thread / Slip | CCUA | 35.45 | No
WM_TEE_1 | W-1 | Water | Tee | 6"X6" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 33.71 | No
WM_TEE_2 | W-1 | Water | Tee | 8"X8" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 33.71 | No
WM_TEE_3 | W-1 | Water | Tee | 12"X8" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 32.4 | No
WM_TEE_4 | W-2 | Water | Tee | 8"X6" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 36.71 | No
WM_TEE_5 | W-3 | Water | Tee | 8"X8" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 28.28 | No
WM_TEE_6 | W-3 | Water | Tee | 8"X6" | Ductile Iron | 2020 | Mechanical Joint | CCUA | 29.17 | No

## Locate Wire
Feature ID | Plan Sheet Number | Main Type | Owned By | Current Doc. # (CCUA Use Only)
RE_LWBOX_1 | R-1 | Reuse | CCUA
WM_LWBOX_1 | W-2 | Water | CCUA
WM_LWBOX_2 | W-3 | Water | CCUA
WM_LWBOX_3 | W-2 | Water | CCUA
RE_LWBOX_2 | R-2 | Reuse | CCUA

## Lift Station
Feature ID | Plan Sheet Number | Easting (X) | Northing (Y) | Inv. Elevation | Inv. Elevation | Inv. Elevation | Inv. Elevation Out | Top Elevation | Bottom Elevation | Lift Station Diameter | Owned By | Current Doc. # (CCUA Use Only)

## Jack & Bore Casing
Feature ID | Plan Sheet Number | Casing Size | Year of Installation | Main Type | Construction Of Main | Material Type | Upstream Casing Inv. | Downstream Casing Inv. | Owned By | Current Doc. # (CCUA Use Only)
#VALUE!

## Manhole
Feature ID | Plan Sheet Number | Design Manhole Number | Rim Elevation | Invert Elevation North | Invert El. Northeast | Invert El. East | Invert El. Southeast | Invert El. South | Invert El. Southwest | Invert El. West | Invert El. Northwest | Year of Installation | Current Doc. # (CCUA Use Only)
SS_MANHOLE_21 | S-2 | S-21 | 43.75 |  |  | 39.39 |  | 39.09 |  |  | 39.39 | 2020
SS_MANHOLE_22 | S-2 | S-22 | 43.16 | 38.01 |  |  | 37.81 |  |  |  |  | 2020
SS_MANHOLE_23 | S-2 | S-23 | 42.75 |  |  | 37.16 |  |  |  |  | 37.48 | 2020
SS_MANHOLE_24 | S-3 | S-24 | 39.86 |  |  |  | 32.38 |  |  |  | 34.68 | 2020
SS_MANHOLE_25 | S-3 | S-25 | 35.11 |  |  |  | 29.24 |  |  |  | 29.49 | 2020
SS_MANHOLE_26 | S-3 | S-26 | 32.7 |  |  |  | 25.87 |  |  |  | 26.19 | 2020
SS_MANHOLE_9 | S-1 | S-9 | 41.52 |  |  |  | 36.49 |  | 36.78 |  | 36.74 | 2020
SS_MANHOLE_10 | S-1 | S-10 | 40.53 |  | 35.38 | 35.31 | [5 empty] | 2020
SS_MANHOLE_11 | S-1 | S-11 | 38.35 |  |  | 33.2 |  |  |  | 33.32 |  | 2020
SS_MANHOLE_28 | S-3 | S-28 | 31.26 | 24.26 |  |  |  | 24.03 |  | 24.29

## Cleanout
Feature ID | Plan Sheet Number | Cleanout Size | Inv. Elevation | Top Elevation | Year of Installation | Owned By | Current Doc. # (CCUA Use Only)

## Ranges For List Pulldown
CCUA | Water | Unknown | 4" | 2015 | 4" | WM_FIREHYD_1 | Gate Valve | 1/2" | 1/2" | Reducer
Others | Sewer | Turn left to open valve | 5" (Fire Dept. Connection) | 2016 | 6" | WM_FIREHYD_2 | Curbstop - (1/4 turn, lock & wing) | 3/4" | 3/4" | Tee
Unknown | Force Main | Turn right to open valve | 6" | 2017 | 8" | WM_FIREHYD_3 | Wheel Valve | 1" | 1" | Tapping Saddle
| Reuse |  |  | 2018 | 10" | WM_FIREHYD_4 | Butterfly Valve | 1-1/4" | 1-1/4" | Hydrant Tee
|  |  |  | 2019 | 12" | WM_FIREHYD_5 | Ball Valve - (1/4 turn) | 1-1/2" | 1-1/2" | Cross
|  |  |  | 2020 | 14" | WM_FIREHYD_6 | Plug Valve - (1/4 turn) | 1-3/4" | 1-3/4" | Service Saddle
[5 empty] | 16" | WM_FIREHYD_7 | Wedge Valve | 2" | 2" | Wye
|  | Unknown | No casing installed |  | 18" | WM_FIREHYD_8 | Knife Valve | 2-1/2" | 2-1/2" | Adapter Coupling
Unknown |  | PVC | Unknown casing size |  | 20" | WM_FIREHYD_9 | Check Valve | 3" | 3" | HDPE / PVC Adapter
Flanged Joint |  | PVC C-900 | 2" |  | 22" | WM_FIREHYD_10 | Swing Check Valve | 3-1/2" | 3-1/2" | Sleeve
Mechanical Joint |  | Ductile Iron | 4" |  |  | WM_FIREHYD_11 | Spring & Lever Check Valve | 4" | 4" | Cap used to end main
Push-on |  | Clay | 6" |  |  | WM_FIREHYD_12 | Double Detector Check Valve | 5" | 5" | Main ends with stubout
Glued |  | Galvanized | 8" |  |  | WM_FIREHYD_13 | Rise & Stem Valve | 6" | 6" | Plug used to end main
Thread / Slip |  | Stainless Steel | 10" |  |  | WM_FIREHYD_14 | Gear Reduction Valve | 8" | 8" | Main ends with tapped cap
Wrap around |  | Bronze | 12" |  |  | WM_FIREHYD_15 | Tapping Valve | 10" | 10" | Main ends with manifold
|  | Aluminum | 14" | Unknown |  | WM_FIREHYD_16 | Altitude Valve | 12" | 12" | Flushing hydrant (or blow-off)
|  | Cement Asbestos | 16" | Jack & Bore |  | WM_FIREHYD_17 | Air Release Valve | 14" | 14" | Main ends with service connection
|  | Copper | 18" | Open-cut casing |  | WM_FIREHYD_18 |  | 16" | 16"
|  | Cast Iron | 20" | Unknown |  | WM_FIREHYD_19 |  | 18" | 18"
|  | HDPE | 24" |  |  | WM_FIREHYD_20 | Unknown | 20"
|  | Fusible C-900 PVC | 30" |  |  |  | Flanged Joint | 22" |  | Unknown
|  | Fusible C-905 PVC | 36" |  |  |  | Mechanical Joint | 24" |  | 11-1/4 Degree
|  | Gray Iron |  |  |  |  | Push-on | 26" |  | 22-1/2 Degree
|  | Steel |  |  |  |  | Glued | 28" |  | 45 Degree
|  | PVC-C100 |  |  |  |  | Thread / Slip | 30" |  | 90 Degree
[7 empty] | Wrap around | 32"
|  |  | 3" |  |  |  |  | 34"
| Unknown |  | 4" |  |  | Waterous Hydrant |  | 36" |  | No
| 1/4" |  | 6" |  |  | Mueller Co. |  |  |  | Yes, Turned
| 1/4"X1/4" |  | 8" |  |  | American AVK Company |  |  |  | Yes, Type "B" Crossing
| 1/2" |  | 10" |  |  | Clow Valve Co. |  |  |  | Unknown
| 1/2"X1/4" |  | 12" |  |  | M&H Valve Co.
| 1/2"X1/2" |  | 14"
| 5/8" |  | 16"
5/8"X1/2"
5/8"X5/8"
| 5/8"X3/4" |  | No
| 3/4" |  | Yes |  |  |  | Bend 11.25°
| 3/4"X1/4" |  | Unknown / Not applicable |  |  |  | Bend 22.5°
| 3/4"X1/2" | [5 empty] | Bend 45°
| 3/4"X3/4" | [5 empty] | Bend 90°
| 1" | [5 empty] | Type "B" Bend 11.25°
| 1"X1/4" | [5 empty] | Type "B" Bend 22.5°
| 1"X1/2" | [5 empty] | Type "B" Bend 45°
| 1"X3/4" | [5 empty] | Type "B" Bend 90°
1"X1"
1-1/4"
1-1/4"X3/4"
1-1/4"X1"
1-1/4"X1-1/4"
1-1/2"
1-1/2"X3/4"
1-1/2"X1"
1-1/2"X1-1/4"
| 1-1/2"X1-1/2" |  | Unknown
| 2" |  | PVC
| 2"X1/4" |  | PVC C-900
| 2"X1/2" |  | Ductile Iron
| 2"X3/4" |  | Clay
| 2"X1" |  | Galvanized
| 2"X1-1/4" |  | Stainless Steel
| 2"X1-1/2" |  | Bronze
| 2"X2" |  | Aluminum
| 2-1/2" |  | Cement Asbestos
| 2-1/2"X3/4" |  | Copper
| 2-1/2"X1" |  | Cast Iron
| 2-1/2"X1-1/2" |  | HDPE
| 2-1/2"X2" |  | Fusible C-900 PVC
| 2-1/2"X2-1/2" |  | Fusible C-905 PVC
| 3" |  | Gray Iron
| 3"X3/4" |  | Steel
3"X1"
3"X1-1/4"
3"X1-1/2"
3"X1-3/4"
3"X2"
3"X2-1/4"
3"X2-1/2"
3"X2-3/4"
3"X3"
4"
4"X3/4"
4"X1"
4"X1-1/2"
4"X2"
4"X2-1/2"
4"X3"
4"X4"
5"
6"
6"X3/4"
6"X1"
6"X1-1/2"
6"X2"
6"X2-1/2"
6"X3"
6"X4"
6"X6"
8"
8"X3/4"
8"X1"
8"X1-1/2"
8"X2"
8"X2-1/2"
8"X3"
8"X4"
8"X6"
8"X8"
10"
10"X3/4"
10"X1"
10"X1-1/2"
10"X2"
10"X2-1/2"
10"X3"
10"X4"
10"X6"
10"X8"
10"X10"
12"
12"X3/4"
12"X1"
12"X1-1/2"
12"X2"
12"X2-1/2"
12"X3"
12"X4"
12"X6"
12"X8"
12"X10"
12"X12"
14"
14"X3/4"
14"X1"
14"X1-1/2"
14"X2"
14"X2-1/2"
14"X3"
14"X4"
14"X6"
14"X8"
14"X10"
14"X12"
14"X14"
16"
16"X3/4"
16"X1"
16"X1-1/2"
16"X2"
16"X2-1/2"
16"X3"
16"X4"
16"X6"
16"X8"
16"X10"
16"X12"
16"X14"
16"X16"
18"
18"X3/4"
18"X1"
18"X1-1/2"
18"X2"
18"X2-1/2"
18"X3"
18"X4"
18"X6"
18"X8"
18"X10"
18"X12"
18"X14"
18"X16"
18"X18"
20"
20"X3/4"
20"X1"
20"X1-1/2"
20"X2"
20"X2-1/2"
20"X3"
20"X4"
20"X6"
20"X8"
20"X10"
20"X12"
20"X14"
20"X16"
20"X18"
20"X20"
24"
24"X3/4"
24"X1"
24"X1-1/2"
24"X2"
24"X2-1/2"
24"X3"
24"X4"
24"X6"
24"X8"
24"X10"
24"X12"
24"X14"
24"X16"
24"X18"
24"X20"
24"X24"
30"
30"X3/4"
30"X1"
30"X1-1/2"
30"X2"
30"X2-1/2"
30"X3"
30"X4"
30"X6"
30"X8"
30"X10"
30"X12"
30"X14"
30"X16"
30"X18"
30"X20"
30"X24"
30"X30"
36"
36"X3/4"
36"X1"
36"X1-1/2"
36"X2"
36"X2-1/2"
36"X3"
36"X4"
36"X6"
36"X8"
36"X10"
36"X12"
36"X14"
36"X16"
36"X18"
36"X20"
36"X24"
36"X30"
36"X36"
48"
48"X3/4"
48"X1"
48"X1-1/2"
48"X2"
48"X2-1/2"
48"X3"
48"X4"
48"X6"
48"X8"
48"X10"
48"X12"
48"X14"
48"X16"
48"X18"
48"X20"
48"X24"
48"X30"
48"X36"
48"X48"
Uncommon sizes for service saddles listed below
4"X1-1/4"
6"X1-1/4"
8"X1-1/4"
10"X1-1/4"
12"X1-1/4"
14"X1-1/4"
16"X1-1/4"
18"X1-1/4"
20"X1-1/4"
24"X1-1/4"
30"X1-1/4"
36"X1-1/4"
48"X1-1/4"
Uncommon sizes for tees listed below (RUN X RUN X BRANCH)
1/4"X1/4"X1/2"
1/2"X1/4"X1/4"
1/2"X1/4"X1/2"
1/2"X1/2"X3/4"
3/4"X1/2"X1/4"
3/4"X3/4"X1"
3/4"X3/4"X1-1/4"
3/4"X3/4"X1-1/2"
1"X1/2"X1/2"
1"X1/2"X3/4"
1"X1/2"X1"
1"X3/4"X1/2"
1"X3/4"X3/4"
1"X3/4"X1"
1"X1"X1-1/2"
1-1/4"X1/2"X1/2"
1-1/4"X1/2"X3/4"
1-1/4"X1/2"X1"
1-1/4"X1/2"X1-1/4"
1-1/4"X3/4"X1/2"
1-1/4"X3/4"X3/4"
1-1/4"X3/4"X1"
1-1/4"X3/4"X1-1/2"
1-1/4"X1"X1/2"
1-1/4"X1"X3/4"
1-1/4"X1"X1"
1-1/4"X1"X1-1/2"
1-1/4"X1-1/4"X1-1/2"
1-1/4"X1-1/4"X2"
1-1/4"X1-1/2"X1-1/4"
1-1/4"X1-1/2"X2"
1-1/2"X1/2"X1/2"
1-1/2"X1/2"X3/4"
1-1/2"X1/2"X1"
1-1/2"X1/2"X1-1/2"
1-1/2"X3/4"X1/2"
1-1/2"X3/4"X3/4"
1-1/2"X3/4"X1"
1-1/2"X3/4"X1-1/2"
1-1/2"X1"X1/2"
1-1/2"X1"X3/4"
1-1/2"X1"X1"
1-1/2"X1"X1-1/2"
1-1/2"X1-1/2"X2"
2"X1-1/2"X1-1/2"
2"X1-1/2"X2"
2"X2"X2-1/2"
2"X2"X3"
2-1/2"X2"X2"
3"X3"X4"
4"X4"X6"
6"X4"X4"
6"X4"X6"
6"X6"X8"
8"X6"X4"
8"X8"X10"
8"X8"X12"
10"X6"X6"
10"X6"X8"
10"X6"X10"
10"X8"X6"
10"X8"X8"
10"X8"X10"
10"X10"X12"
12"X6"X6"
12"X6"X8"
12"X6"X10"
12"X6"X12"
12"X8"X6"
12"X8"X8"
12"X8"X10"
12"X8"X12"
12"X10"X6"
12"X10"X8"
12"X10"X10"
12"X10"X12"
Other (place in comments field)