## Contractor Info
As-built Asset Table
Project Name: | LAUREL GROVE ESTATES
Contractor Company Name: | A.J. JOHNS
Contractor Contact Number: | (904) 641-2055
Surveyor or Engineer Company Name: | GHIOTTO & ASSOCIATES
Surveyor or Engineer Contact Number: | (904) 886-0071

## Fire Hydrant
Feature ID | Plan Sheet Number | Model Number | Easting (X) | Northing (Y) | Manufacturer | Direction to Open | Fire Hydrant Size | Year of Installation | Date of Installation | Main Size @ F.H. Connection | Manufacturer Year | Main Type | Owned By | Current Doc. # (CCUA Use Only) | Fire Hydrant # (CCUA Use Only)
WM_FIREHYD_1 | C7 | WB67-250 | 408878.737 | 2097613.37 | AMERICAN FLOW CONTROL | Turn left to open valve | 6" | 2020 | 2020-12-01 | 6" | 2019 | Water | Clay County Utility Authority
WM_FIREHYD_2 | C8 | WB67-250 | 409150.429 | 2097876.462 | AMERICAN FLOW CONTROL | Turn left to open valve | 6" | 2020 | 2021-01-04 | 6" | 2019 | Water | Clay County Utility Authority
WM_FIREHYD_3 | C9 | WB67-250 | 409147.839 | 2098323.951 | AMERICAN FLOW CONTROL | Turn left to open valve | 6" | 2020 | 2021-01-04 | 6" | 2019 | Water | Clay County Utility Authority

## Valve
Feature ID | Plan Sheet Number | Easting (X) | Northing (Y) | Elevation | Valve Type | Direction to Open | Valve Size | Year of Installation | Type of Joint Fitting | Main Type | Model Number | Manufacturer | # Of Turns To Open | Owned By | Current Doc. # (CCUA Use Only)
WM_VALVE_1 | C7 | 408804.063 | 2097400.699 | 12.438 | Gate Valve | Turn left to open valve | 8" | 2020 | Mechanical Joint | Water | 2500-1 | AMERICAN FLOW CONTROL | 26 | Clay County Utility Authority
WM_VALVE_2 | C7 | 408875.472 | 2097613.725 | 14.491 | Gate Valve | Turn left to open valve | 6" | 2020 | Mechanical Joint | Water | 2500-1 | AMERICAN FLOW CONTROL | 20 | Clay County Utility Authority
WM_VALVE_3 | C7 | 409075.113 | 2097703.092 | 12.5 | Gate Valve | Turn left to open valve | 8" | 2020 | Mechanical Joint | Water | 2500-1 | AMERICAN FLOW CONTROL | 26 | Clay County Utility Authority
WM_VALVE_4 | C8 | 409147.122 | 2097876.176 | 12.28 | Gate Valve | Turn left to open valve | 6" | 2020 | Mechanical Joint | Water | 2500-1 | AMERICAN FLOW CONTROL | 20 | Clay County Utility Authority
WM_VALVE_5 | C8 | 409143.607 | 2098145.801 | 11.863 | Gate Valve | Turn left to open valve | 6" | 2020 | Mechanical Joint | Water | 2500-1 | AMERICAN FLOW CONTROL | 20 | Clay County Utility Authority
WM_VALVE_6 | C6 | 409077.537 | 2097280.676 | 9.935 | Gate Valve | Turn left to open valve | 10" | 2020 | Mechanical Joint | Water | 2500-1 | AMERICAN FLOW CONTROL | 32 | Clay County Utility Authority
WM_VALVE_7 | C7 | 408800.321 | 2097399.26 | 12.572 | Gate Valve | Turn left to open valve | 10" | 2020 | Mechanical Joint | Water | 2500-1 | AMERICAN FLOW CONTROL | 32 | Clay County Utility Authority
WM_VALVE_8 | C8 | 409144.693 | 2098323.93 | 10.977 | Gate Valve | Turn left to open valve | 6" | 2020 | Mechanical Joint | Water | 2500-1 | AMERICAN FLOW CONTROL | 20 | Clay County Utility Authority

## RPZ
ID Number | Plan Sheet Number | Size of RPZ | Year of Installation | Type of Joint Fitting | Owned By | Current Doc. # (CCUA Use Only)

## Bends
Feature ID | Plan Sheet Number | Main Type | Easting (X) | Northing (Y) | Elevation | Fitting Size | Material Type | Year of Installation | Type of Joint Fitting | Bend Used To Avoid Conflict | Degree Of Bend | Material Transition | Current Doc. # (CCUA Use Only)
WM_22.5BEND_1 | C7 | Water | 408849.743 | 2097475.106 | 12.863 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_2 | C7 | Water | 408875.508 | 2097627.647 | 13.549 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_3 | C7 | Water | 408870.524 | 2097643.007 | 12.905 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_4 | C7 | Water | 408873.94 | 2097671.372 | 13.21 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_5 | C7 | Water | 408890.626 | 2097691.921 | 12.898 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_6 | C7 | Water | 408913.208 | 2097697.114 | 12.685 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_7 | C7 | Water | 408956.348 | 2097689.379 | 12.243 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_8 | C7 | Water | 408982.252 | 2097700.909 | 11.892 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_9 | C7 | Water | 409079.186 | 2097703.563 | 11.234 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_10 | C7 | Water | 409111.346 | 2097718.31 | 11.615 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_11 | C8 | Water | 409135.071 | 2097742.187 | 12.14 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_12 | C8 | Water | 409143.575 | 2097760.423 | 12.14 | 8" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_13 | C9 | Water | 409141.789 | 2098561.641 | 10.062 | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_14 | C9 | Water | 409129.999 | 2098589.197 | 10.317 | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_15 | C9 | Water | 409130.363 | 2098608.422 | 10.612 | 4" | Ductile Iron | 2020 | Mechanical Joint | No | 22-1/2 Degree | No

## Fittings
Feature ID | Plan Sheet Number | Easting (X) | Northing (Y) | Elevation | Main Type | Fitting Type | Fitting Size | Material Type | Year of Installation | Type of Joint Fitting | Owned By | Material Transition | Current Doc. # (CCUA Use Only)
WM_TEE_1 | C7 | 408802.336 | 2097398.29 | 11.003 | Water | Tee | 10"X8" | Ductile Iron | 2020 | Mechanical Joint | Clay County Utility Authority | No
WM_TEE_2 | C7 | 408874.034 | 2097613.615 | 13.43 | Water | Hydrant Tee | 8"X6" | Ductile Iron | 2020 | Mechanical Joint | Clay County Utility Authority | No
WM_TEE_3 | C8 | 409145.257 | 2097876.11 | 11.165 | Water | Hydrant Tee | 8"X6" | Ductile Iron | 2020 | Mechanical Joint | Clay County Utility Authority | No
WM_TEE_4 | C9 | 409143.083 | 2098324.064 | 9.925 | Water | Hydrant Tee | 6"X6" | Ductile Iron | 2020 | Mechanical Joint | Clay County Utility Authority | No
WM_REDUCER_1 | C9 | 409142.443 | 2098414.495 | 9.571 | Water | Reducer | 6"X4" | Ductile Iron | 2020 | Mechanical Joint | Clay County Utility Authority | No
WM_FLUSHHYD_1 | C9 | 409140.703 | 2098629.262 | 13.169 | Water | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2020 | Mechanical Joint | Clay County Utility Authority | Yes
WM_CAP_1 | C7 | 408719.459 | 2097444.867 | 10.745 | Water | Cap tapped | 10"X2" | Ductile Iron | 2020 | Mechanical Joint | Clay County Utility Authority | Yes
WM_FLUSHHYD_2 | C7 | 408715.735 | 2097446.402 | 13.75 | Water | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2020 | Mechanical Joint | Clay County Utility Authority | No
SS_PLUG_1 | C7 | 408809.149 | 2097793.963 | 8.31 | Sewer | Plug used to end main | 8" | Ductile Iron | 2020 | Mechanical Joint | Clay County Utility Authority | No
WM_CAP_2 | C8 | 409139.627 | 2098627.094 | 10.68 | Water | Cap tapped | 4"x2" | Ductile Iron | 2020 | Mechanical Joint | Clay County Utility Authority | Yes

## Locate Wire
Feature ID | Plan Sheet Number | Easting (X) | Northing (Y) | Main Type | Owned By | Current Doc. # (CCUA Use Only)

## Lift Station (hidden)
Feature ID | Plan Sheet Number | Easting (X) | Northing (Y) | Inv. Elevation In | Inv. Elevation In | Inv. Elevation In | Inv. Elevation Out | Top Elevation | Bottom Elevation | Lift Station Diameter | Owned By | Current Doc. # (CCUA Use Only)

## Manhole
Feature ID | Plan Sheet Number | Design Manhole Number | Easting (X) | Northing (Y) | Rim Elevation | Invert Elevation North | Invert El. Northeast | Invert El. East | Invert El. Southeast | Invert El. South | Invert El. Southwest | Invert El. West | Invert El. Northwest | Year of Installation | Current Doc. # (CCUA Use Only)
SS_MANHOLE_1 | C7 | MH1 | 408843.843 | 2097418.881 | 14.71 |  | 9.6 | [6 empty] | 2020
SS_MANHOLE_2 | C7 | MH1A | 408877.081 | 2097488.027 | 15.88 | 9.18 |  |  |  |  | 9.22 |  |  | 2020
SS_MANHOLE_3 | C7 | MH2 | 408905.805 | 2097659.985 | 15.92 |  |  | 7.48 |  | 8.32 |  |  | 7.55
SS_MANHOLE_4 | C9 | MH3 | 409175.106 | 2098598.028 | 12.88 |  |  |  |  | 8.04 |  |  | 8.68
SS_MANHOLE_5 | C9 | MH4 | 409167.597 | 2098412.594 | 12.58 | 7.17 |  |  |  | 7.09
SS_MANHOLE_6 | C8 | MH5 | 409167.974 | 2098013.254 | 14.14 | 5.34 |  |  |  | 5.33
SS_MANHOLE_7 | C8 | MH6 | 409170.825 | 2097753.611 | 14.96 | 4.12 |  |  |  |  | 4.07
SS_MANHOLE_8 | C7 | MH7 | 409098.414 | 2097687.177 | 14.62 |  | 3.62 |  |  | 3.57 |  | 5.79
SS_MANHOLE_9 | C7 | MH8 | 409098.642 | 2097543.661 | 14.41 | 2.9 |  | 2.82

## Cleanout
Feature ID | Plan Sheet Number | Cleanout Size | Inv. Elevation | Top Elevation | Year of Installation | Owned By | Current Doc. # (CCUA Use Only)

## Ranges For List Pulldown
Clay County Utility Authority | Water | Unknown | 4" | UNKNOWN | 4" | WM_FIREHYD_1 | Gate Valve | 1/2" | 1/2" | Reducer
Others | Sewer | Turn left to open valve | 5" (Fire Dept. Connection) | 2019 | 6" | WM_FIREHYD_2 | Curbstop - (1/4 turn, lock & wing) | 3/4" | 3/4" | Tee
Unknown | Force Main | Turn right to open valve | 6" | 2020 | 8" | WM_FIREHYD_3 | Wheel Valve | 1" | 1" | Tapping Saddle
| Reuse |  |  | 2021 | 10" | WM_FIREHYD_4 | Butterfly Valve | 1-1/4" | 1-1/4" | Hydrant Tee
|  |  |  | 2018 | 12" | WM_FIREHYD_5 | Ball Valve - (1/4 turn) | 1-1/2" | 1-1/2" | Cross
|  |  |  | 2019 | 14" | WM_FIREHYD_6 | Plug Valve - (1/4 turn) | 1-3/4" | 1-3/4" | Service Saddle
[5 empty] | 16" | WM_FIREHYD_7 | Wedge Valve | 2" | 2" | Wye
|  | Unknown |  |  | 18" | WM_FIREHYD_8 | Knife Valve | 2-1/2" | 2-1/2" | Adapter Coupling
Unknown |  | PVC |  |  | 20" | WM_FIREHYD_9 | Check Valve | 3" | 3" | HDPE / PVC Adapter
Flanged Joint |  | PVC C-900 |  |  | 22" | WM_FIREHYD_10 | Swing Check Valve | 3-1/2" | 3-1/2" | Sleeve
Mechanical Joint |  | Ductile Iron |  |  |  | WM_FIREHYD_11 | Spring & Lever Check Valve | 4" | 4" | Cap used to end main
Push-on |  | Clay |  |  |  | WM_FIREHYD_12 | Double Detector Check Valve | 5" | 5" | Cap tapped
Glued |  | Galvanized |  |  |  | WM_FIREHYD_13 | Rise & Stem Valve | 6" | 6" | Plug used to end main
Thread / Slip |  | Stainless Steel |  |  |  | WM_FIREHYD_14 | Gear Reduction Valve | 8" | 8" | Main ends with tapped cap
Wrap around |  | Bronze |  |  |  | WM_FIREHYD_15 | Tapping Valve | 10" | 10" | Cap tapped with flushing hydrant
|  | Aluminum |  |  |  | WM_FIREHYD_16 | Altitude Valve | 12" | 12" | Flushing hydrant (or blow-off)
|  | Cement Asbestos |  |  |  | WM_FIREHYD_17 |  | 14" | 14" | Main ends with service connection
|  | Copper |  |  |  | WM_FIREHYD_18 |  | 16" | 16" | Cap tapped
|  | Cast Iron |  |  |  | WM_FIREHYD_19 |  | 18" | 18"
|  | HDPE |  |  |  | WM_FIREHYD_20 | Unknown | 20"
|  | Fusible C-900 PVC |  |  |  |  | Flanged Joint | 22" |  | Unknown
|  | Fusible C-905 PVC |  |  |  |  | Mechanical Joint | 24" |  | 11-1/4 Degree
|  | Gray Iron |  |  |  |  | Push-on | 26" |  | 22-1/2 Degree
|  | Steel |  |  |  |  | Glued | 28" |  | 45 Degree
|  | PVC-C100 |  |  |  |  | Thread / Slip | 30" |  | 90 Degree
[7 empty] | Wrap around | 32"
|  |  | 3" |  |  |  |  | 34"
| Unknown |  | 4" |  |  | Waterous Hydrant |  | 36" |  | No
| 1/4" |  | 6" |  |  | Mueller Co. |  |  |  | Yes, Turned
| 1/4"X1/4" |  | 8" |  |  | AMERICAN FLOW CONTROL |  |  |  | Yes, Type "B" Crossing
| 1/2" |  | 10" |  |  | Clow Valve Co. |  |  |  | Unknown
| 1/2"X1/4" |  | 12" |  |  | M&H Valve Co.
| 1/2"X1/2" |  | 14"
| 5/8" |  | 16"
5/8"X1/2"
5/8"X5/8"
| 5/8"X3/4" |  | No
| 3/4" |  | Yes |  |  |  | Bend 11.25°
| 3/4"X1/4" |  | Unknown / Not applicable |  |  |  | Bend 22.5°
| 3/4"X1/2" | [5 empty] | Bend 45°
| 3/4"X3/4" | [5 empty] | Bend 90°
| 1" | [5 empty] | Type "B" Bend 11.25°
| 1"X1/4" | [5 empty] | Type "B" Bend 22.5°
| 1"X1/2" | [5 empty] | Type "B" Bend 45°
| 1"X3/4" | [5 empty] | Type "B" Bend 90°
1"X1"
1-1/4"
1-1/4"X3/4"
1-1/4"X1"
1-1/4"X1-1/4"
1-1/2"
1-1/2"X3/4"
1-1/2"X1"
1-1/2"X1-1/4"
1-1/2"X1-1/2"
2"
2"X1/4"
2"X1/2"
2"X3/4"
2"X1"
2"X1-1/4"
2"X1-1/2"
2"X2"
2-1/2"
2-1/2"X3/4"
2-1/2"X1"
2-1/2"X1-1/2"
2-1/2"X2"
2-1/2"X2-1/2"
3"
3"X3/4"
3"X1"
3"X1-1/4"
3"X1-1/2"
3"X1-3/4"
3"X2"
3"X2-1/4"
3"X2-1/2"
3"X2-3/4"
3"X3"
4"
4"X3/4"
4"X1"
4"X1-1/2"
4"X2"
4"X2-1/2"
4"X3"
4"X4"
5"
6"
6"X3/4"
6"X1"
6"X1-1/2"
6"X2"
6"X2-1/2"
6"X3"
6"X4"
6"X6"
8"
8"X3/4"
8"X1"
8"X1-1/2"
8"X2"
8"X2-1/2"
8"X3"
8"X4"
8"X6"
8"X8"
10"
10"X3/4"
10"X1"
10"X1-1/2"
10"X2"
10"X2-1/2"
10"X3"
10"X4"
10"X6"
10"X8"
10"X10"
12"
12"X3/4"
12"X1"
12"X1-1/2"
12"X2"
12"X2-1/2"
12"X3"
12"X4"
12"X6"
12"X8"
12"X10"
12"X12"
14"
14"X3/4"
14"X1"
14"X1-1/2"
14"X2"
14"X2-1/2"
14"X3"
14"X4"
14"X6"
14"X8"
14"X10"
14"X12"
14"X14"
16"
16"X3/4"
16"X1"
16"X1-1/2"
16"X2"
16"X2-1/2"
16"X3"
16"X4"
16"X6"
16"X8"
16"X10"
16"X12"
16"X14"
16"X16"
18"
18"X3/4"
18"X1"
18"X1-1/2"
18"X2"
18"X2-1/2"
18"X3"
18"X4"
18"X6"
18"X8"
18"X10"
18"X12"
18"X14"
18"X16"
18"X18"
20"
20"X3/4"
20"X1"
20"X1-1/2"
20"X2"
20"X2-1/2"
20"X3"
20"X4"
20"X6"
20"X8"
20"X10"
20"X12"
20"X14"
20"X16"
20"X18"
20"X20"
24"
24"X3/4"
24"X1"
24"X1-1/2"
24"X2"
24"X2-1/2"
24"X3"
24"X4"
24"X6"
24"X8"
24"X10"
24"X12"
24"X14"
24"X16"
24"X18"
24"X20"
24"X24"
30"
30"X3/4"
30"X1"
30"X1-1/2"
30"X2"
30"X2-1/2"
30"X3"
30"X4"
30"X6"
30"X8"
30"X10"
30"X12"
30"X14"
30"X16"
30"X18"
30"X20"
30"X24"
30"X30"
36"
36"X3/4"
36"X1"
36"X1-1/2"
36"X2"
36"X2-1/2"
36"X3"
36"X4"
36"X6"
36"X8"
36"X10"
36"X12"
36"X14"
36"X16"
36"X18"
36"X20"
36"X24"
36"X30"
36"X36"
48"
48"X3/4"
48"X1"
48"X1-1/2"
48"X2"
48"X2-1/2"
48"X3"
48"X4"
48"X6"
48"X8"
48"X10"
48"X12"
48"X14"
48"X16"
48"X18"
48"X20"
48"X24"
48"X30"
48"X36"
48"X48"
Uncommon sizes for service saddles listed below
4"X1-1/4"
6"X1-1/4"
8"X1-1/4"
10"X1-1/4"
12"X1-1/4"
14"X1-1/4"
16"X1-1/4"
18"X1-1/4"
20"X1-1/4"
24"X1-1/4"
30"X1-1/4"
36"X1-1/4"
48"X1-1/4"
Uncommon sizes for tees listed below (RUN X RUN X BRANCH)
1/4"X1/4"X1/2"
1/2"X1/4"X1/4"
1/2"X1/4"X1/2"
1/2"X1/2"X3/4"
3/4"X1/2"X1/4"
3/4"X3/4"X1"
3/4"X3/4"X1-1/4"
3/4"X3/4"X1-1/2"
1"X1/2"X1/2"
1"X1/2"X3/4"
1"X1/2"X1"
1"X3/4"X1/2"
1"X3/4"X3/4"
1"X3/4"X1"
1"X1"X1-1/2"
1-1/4"X1/2"X1/2"
1-1/4"X1/2"X3/4"
1-1/4"X1/2"X1"
1-1/4"X1/2"X1-1/4"
1-1/4"X3/4"X1/2"
1-1/4"X3/4"X3/4"
1-1/4"X3/4"X1"
1-1/4"X3/4"X1-1/2"
1-1/4"X1"X1/2"
1-1/4"X1"X3/4"
1-1/4"X1"X1"
1-1/4"X1"X1-1/2"
1-1/4"X1-1/4"X1-1/2"
1-1/4"X1-1/4"X2"
1-1/4"X1-1/2"X1-1/4"
1-1/4"X1-1/2"X2"
1-1/2"X1/2"X1/2"
1-1/2"X1/2"X3/4"
1-1/2"X1/2"X1"
1-1/2"X1/2"X1-1/2"
1-1/2"X3/4"X1/2"
1-1/2"X3/4"X3/4"
1-1/2"X3/4"X1"
1-1/2"X3/4"X1-1/2"
1-1/2"X1"X1/2"
1-1/2"X1"X3/4"
1-1/2"X1"X1"
1-1/2"X1"X1-1/2"
1-1/2"X1-1/2"X2"
2"X1-1/2"X1-1/2"
2"X1-1/2"X2"
2"X2"X2-1/2"
2"X2"X3"
2-1/2"X2"X2"
3"X3"X4"
4"X4"X6"
6"X4"X4"
6"X4"X6"
6"X6"X8"
8"X6"X4"
8"X8"X10"
8"X8"X12"
10"X6"X6"
10"X6"X8"
10"X6"X10"
10"X8"X6"
10"X8"X8"
10"X8"X10"
10"X10"X12"
12"X6"X6"
12"X6"X8"
12"X6"X10"
12"X6"X12"
12"X8"X6"
12"X8"X8"
12"X8"X10"
12"X8"X12"
12"X10"X6"
12"X10"X8"
12"X10"X10"
12"X10"X12"
Other (place in comments field)