## Contractor Info
As-built Asset Table
Project Name: | BRANAN FIELD STARBUCKS
Contractor Company Name: | Davie Underground, Inc.
Contractor Contact Number: | (904) 507-8050
Surveyor or Engineer Company Name: | Bartram Trail Surveying, Inc.
Surveyor or Engineer Contact Number: | Professional Surveyor and Mapper #6991
1501 County Road 315, Suite 106
Green Cove Springs, Fl 32043
904-284-2224

## Fire Hydrant
Feature ID | Plan Sheet Number | Model Number | Manufacturer | Direction to Open | Fire Hydrant Size | Year of Installation | Date of Installation | Main Size @ F.H. Connection | Manufacturer Year | Owned By | Current Doc. # (CCUA Use Only) | Fire Hydrant # (CCUA Use Only)
WM_FIREHYD_1 | C-401

## Valve
Feature ID | Plan Sheet Number | Valve Type | Direction to Open | Valve Size | Year of Installation | Type of Joint Fitting | Main Type | Model Number | Manufacturer | # Of Turns To Open | Material Transition | Survey Elevation | Owned By | Current Doc. # (CCUA Use Only)

## RPZ
Feature ID | Plan Sheet Number | Size of RPZ | Year of Installation | Material Transition | Type of Joint Fitting | Owned By | Current Doc. # (CCUA Use Only)

## Bends
Feature ID | Plan Sheet Number | Main Type | Fitting Size | Material Type | Year of Installation | Type of Joint Fitting | Bend Used To Avoid Conflict | Degree Of Bend | Survey Elevation | Material Transition | Current Doc. # (CCUA Use Only)
WM_BEND_90_1 | W-1 | Water | 2" | Unknown | 2021 | Unknown | No | 90 Degree | 27.97 | No
WM_BEND_90_2 | W-1 | Water | 2" | Unknown | 2021 | Unknown | No | 90 Degree | 28 | No
WM_BEND_90_3 | W-1 | Water | 2" | Unknown | 2021 | Unknown | No | 90 Degree | 27.98 | No

## Fittings
Feature ID | Plan Sheet Number | Main Type | Fitting Type | Fitting Size | Material Type | Year of Installation | Type of Joint Fitting | Owned By | Survey Elevation | Material Transition | Current Doc. # (CCUA Use Only)
WM_TEE_1 | W-1 | Water | Tee | 2" | Unknown | 2021 | Unknown | CCUA | 27.83 | No
WM_PLUG_1 | W-1 | Water | Cap used to end main | 2" | Unknown | 2021 | Unknown | Unknown | 22.23 | No
WM_PLUG_2 | W-1 | Water | Cap used to end main | 2" | Unknown | 2021 | Unknown | Unknown | 24.1 | No
WM_PLUG_3 | W-1 | Water | Adapter Coupling | 6"X2" | Unknown | 2021 | Thread / Slip | CCUA | 28.03 | No

## Locate Wire
Feature ID | Plan Sheet Number | Main Type | Owned By | Current Doc. # (CCUA Use Only)

## Lift Station
Feature ID | Plan Sheet Number | Easting (X) | Northing (Y) | Inv. Elevation | Inv. Elevation | Inv. Elevation | Inv. Elevation Out | Top Elevation | Bottom Elevation | Lift Station Diameter | Owned By | Current Doc. # (CCUA Use Only)

## Jack & Bore Casing
Feature ID | Plan Sheet Number | Casing Size | Year of Installation | Main Type | Construction Of Main | Material Type | Upstream Casing Inv. | Downstream Casing Inv. | Owned By | Current Doc. # (CCUA Use Only)
#VALUE!

## Manhole
Feature ID | Plan Sheet Number | Design Manhole Number | Rim Elevation | Invert Elevation North | Invert El. Northeast | Invert El. East | Invert El. Southeast | Invert El. South | Invert El. Southwest | Invert El. West | Invert El. Northwest | Year of Installation | Current Doc. # (CCUA Use Only)

## Cleanout
Feature ID | Plan Sheet Number | Cleanout Size | Inv. Elevation | Top Elevation | Year of Installation | Owned By | Current Doc. # (CCUA Use Only)
SS_CLEANOUT_1 | S-1 | 6" | 22.17 | 28.17 |  | OTHERS

## Ranges For List Pulldown
CCUA | Water | Unknown | 4" |  | 4" | WM_FIREHYD_1 | Gate Valve | 1/2" | 1/2" | Reducer
Others | Sewer | Turn left to open valve | 5" (Fire Dept. Connection) |  | 6" | WM_FIREHYD_2 | Curbstop - (1/4 turn, lock & wing) | 3/4" | 3/4" | Tee
Unknown | Force Main | Turn right to open valve | 6" |  | 8" | WM_FIREHYD_3 | Wheel Valve | 1" | 1" | Tapping Saddle
| Reuse |  |  | 2018 | 10" | WM_FIREHYD_4 | Butterfly Valve | 1-1/4" | 1-1/4" | Hydrant Tee
|  |  |  | 2019 | 12" | WM_FIREHYD_5 | Ball Valve - (1/4 turn) | 1-1/2" | 1-1/2" | Cross
|  |  |  | 2020 | 14" | WM_FIREHYD_6 | Plug Valve - (1/4 turn) | 1-3/4" | 1-3/4" | Service Saddle
|  |  |  | 2021 | 16" | WM_FIREHYD_7 | Wedge Valve | 2" | 2" | Wye
|  | Unknown | No casing installed | 2022 | 18" | WM_FIREHYD_8 | Knife Valve | 2-1/2" | 2-1/2" | Adapter Coupling
Unknown |  | PVC | Unknown casing size | 2023 | 20" | WM_FIREHYD_9 | Check Valve | 3" | 3" | HDPE / PVC Adapter
Flanged Joint |  | PVC C-900 | 2" |  | 22" | WM_FIREHYD_10 | Swing Check Valve | 3-1/2" | 3-1/2" | Sleeve
Mechanical Joint |  | Ductile Iron | 4" |  |  | WM_FIREHYD_11 | Spring & Lever Check Valve | 4" | 4" | Cap used to end main
Push-on |  | Clay | 6" |  |  | WM_FIREHYD_12 | Double Detector Check Valve | 5" | 5" | Main ends with stubout
Glued |  | Galvanized | 8" |  |  | WM_FIREHYD_13 | Rise & Stem Valve | 6" | 6" | Plug used to end main
Thread / Slip |  | Stainless Steel | 10" |  |  | WM_FIREHYD_14 | Gear Reduction Valve | 8" | 8" | Main ends with tapped cap
Wrap around |  | Bronze | 12" |  |  | WM_FIREHYD_15 | Tapping Valve | 10" | 10" | Main ends with manifold
|  | Aluminum | 14" | Unknown |  | WM_FIREHYD_16 | Altitude Valve | 12" | 12" | Flushing hydrant (or blow-off)
|  | Cement Asbestos | 16" | Jack & Bore |  | WM_FIREHYD_17 | Air Release Valve | 14" | 14" | Main ends with service connection
|  | Copper | 18" | Open-cut casing |  | WM_FIREHYD_18 |  | 16" | 16"
|  | Cast Iron | 20" | Unknown |  | WM_FIREHYD_19 |  | 18" | 18"
|  | HDPE | 24" |  |  | WM_FIREHYD_20 | Unknown | 20"
|  | Fusible C-900 PVC | 30" |  |  |  | Flanged Joint | 22" |  | Unknown
|  | Fusible C-905 PVC | 36" |  |  |  | Mechanical Joint | 24" |  | 11-1/4 Degree
|  | Gray Iron |  |  |  |  | Push-on | 26" |  | 22-1/2 Degree
|  | Steel |  |  |  |  | Glued | 28" |  | 45 Degree
|  | PVC-C100 |  |  |  |  | Thread / Slip | 30" |  | 90 Degree
[7 empty] | Wrap around | 32"
|  |  | 3" |  |  |  |  | 34"
| Unknown |  | 4" |  |  | Waterous Hydrant |  | 36" |  | No
| 1/4" |  | 6" |  |  | Mueller Co. |  |  |  | Yes, Turned
| 1/4"X1/4" |  | 8" |  |  | American AVK Company |  |  |  | Yes, Type "B" Crossing
| 1/2" |  | 10" |  |  | Clow Valve Co. |  |  |  | Unknown
| 1/2"X1/4" |  | 12" |  |  | M&H Valve Co.
| 1/2"X1/2" |  | 14"
| 5/8" |  | 16"
5/8"X1/2"
5/8"X5/8"
| 5/8"X3/4" |  | No
| 3/4" |  | Yes |  |  |  | Bend 11.25°
| 3/4"X1/4" |  | Unknown / Not applicable |  |  |  | Bend 22.5°
| 3/4"X1/2" | [5 empty] | Bend 45°
| 3/4"X3/4" | [5 empty] | Bend 90°
| 1" | [5 empty] | Type "B" Bend 11.25°
| 1"X1/4" | [5 empty] | Type "B" Bend 22.5°
| 1"X1/2" | [5 empty] | Type "B" Bend 45°
| 1"X3/4" | [5 empty] | Type "B" Bend 90°
1"X1"
1-1/4"
1-1/4"X3/4"
1-1/4"X1"
1-1/4"X1-1/4"
1-1/2"
1-1/2"X3/4"
1-1/2"X1"
1-1/2"X1-1/4"
| 1-1/2"X1-1/2" |  | Unknown
| 2" |  | PVC
| 2"X1/4" |  | PVC C-900
| 2"X1/2" |  | Ductile Iron
| 2"X3/4" |  | Clay
| 2"X1" |  | Galvanized
| 2"X1-1/4" |  | Stainless Steel
| 2"X1-1/2" |  | Bronze
| 2"X2" |  | Aluminum
| 2-1/2" |  | Cement Asbestos
| 2-1/2"X3/4" |  | Copper
| 2-1/2"X1" |  | Cast Iron
| 2-1/2"X1-1/2" |  | HDPE
| 2-1/2"X2" |  | Fusible C-900 PVC
| 2-1/2"X2-1/2" |  | Fusible C-905 PVC
| 3" |  | Gray Iron
| 3"X3/4" |  | Steel
3"X1"
3"X1-1/4"
3"X1-1/2"
3"X1-3/4"
3"X2"
3"X2-1/4"
3"X2-1/2"
3"X2-3/4"
3"X3"
4"
4"X3/4"
4"X1"
4"X1-1/2"
4"X2"
4"X2-1/2"
4"X3"
4"X4"
5"
6"
6"X3/4"
6"X1"
6"X1-1/2"
6"X2"
6"X2-1/2"
6"X3"
6"X4"
6"X6"
8"
8"X3/4"
8"X1"
8"X1-1/2"
8"X2"
8"X2-1/2"
8"X3"
8"X4"
8"X6"
8"X8"
10"
10"X3/4"
10"X1"
10"X1-1/2"
10"X2"
10"X2-1/2"
10"X3"
10"X4"
10"X6"
10"X8"
10"X10"
12"
12"X3/4"
12"X1"
12"X1-1/2"
12"X2"
12"X2-1/2"
12"X3"
12"X4"
12"X6"
12"X8"
12"X10"
12"X12"
14"
14"X3/4"
14"X1"
14"X1-1/2"
14"X2"
14"X2-1/2"
14"X3"
14"X4"
14"X6"
14"X8"
14"X10"
14"X12"
14"X14"
16"
16"X3/4"
16"X1"
16"X1-1/2"
16"X2"
16"X2-1/2"
16"X3"
16"X4"
16"X6"
16"X8"
16"X10"
16"X12"
16"X14"
16"X16"
18"
18"X3/4"
18"X1"
18"X1-1/2"
18"X2"
18"X2-1/2"
18"X3"
18"X4"
18"X6"
18"X8"
18"X10"
18"X12"
18"X14"
18"X16"
18"X18"
20"
20"X3/4"
20"X1"
20"X1-1/2"
20"X2"
20"X2-1/2"
20"X3"
20"X4"
20"X6"
20"X8"
20"X10"
20"X12"
20"X14"
20"X16"
20"X18"
20"X20"
24"
24"X3/4"
24"X1"
24"X1-1/2"
24"X2"
24"X2-1/2"
24"X3"
24"X4"
24"X6"
24"X8"
24"X10"
24"X12"
24"X14"
24"X16"
24"X18"
24"X20"
24"X24"
30"
30"X3/4"
30"X1"
30"X1-1/2"
30"X2"
30"X2-1/2"
30"X3"
30"X4"
30"X6"
30"X8"
30"X10"
30"X12"
30"X14"
30"X16"
30"X18"
30"X20"
30"X24"
30"X30"
36"
36"X3/4"
36"X1"
36"X1-1/2"
36"X2"
36"X2-1/2"
36"X3"
36"X4"
36"X6"
36"X8"
36"X10"
36"X12"
36"X14"
36"X16"
36"X18"
36"X20"
36"X24"
36"X30"
36"X36"
48"
48"X3/4"
48"X1"
48"X1-1/2"
48"X2"
48"X2-1/2"
48"X3"
48"X4"
48"X6"
48"X8"
48"X10"
48"X12"
48"X14"
48"X16"
48"X18"
48"X20"
48"X24"
48"X30"
48"X36"
48"X48"
Uncommon sizes for service saddles listed below
4"X1-1/4"
6"X1-1/4"
8"X1-1/4"
10"X1-1/4"
12"X1-1/4"
14"X1-1/4"
16"X1-1/4"
18"X1-1/4"
20"X1-1/4"
24"X1-1/4"
30"X1-1/4"
36"X1-1/4"
48"X1-1/4"
Uncommon sizes for tees listed below (RUN X RUN X BRANCH)
1/4"X1/4"X1/2"
1/2"X1/4"X1/4"
1/2"X1/4"X1/2"
1/2"X1/2"X3/4"
3/4"X1/2"X1/4"
3/4"X3/4"X1"
3/4"X3/4"X1-1/4"
3/4"X3/4"X1-1/2"
1"X1/2"X1/2"
1"X1/2"X3/4"
1"X1/2"X1"
1"X3/4"X1/2"
1"X3/4"X3/4"
1"X3/4"X1"
1"X1"X1-1/2"
1-1/4"X1/2"X1/2"
1-1/4"X1/2"X3/4"
1-1/4"X1/2"X1"
1-1/4"X1/2"X1-1/4"
1-1/4"X3/4"X1/2"
1-1/4"X3/4"X3/4"
1-1/4"X3/4"X1"
1-1/4"X3/4"X1-1/2"
1-1/4"X1"X1/2"
1-1/4"X1"X3/4"
1-1/4"X1"X1"
1-1/4"X1"X1-1/2"
1-1/4"X1-1/4"X1-1/2"
1-1/4"X1-1/4"X2"
1-1/4"X1-1/2"X1-1/4"
1-1/4"X1-1/2"X2"
1-1/2"X1/2"X1/2"
1-1/2"X1/2"X3/4"
1-1/2"X1/2"X1"
1-1/2"X1/2"X1-1/2"
1-1/2"X3/4"X1/2"
1-1/2"X3/4"X3/4"
1-1/2"X3/4"X1"
1-1/2"X3/4"X1-1/2"
1-1/2"X1"X1/2"
1-1/2"X1"X3/4"
1-1/2"X1"X1"
1-1/2"X1"X1-1/2"
1-1/2"X1-1/2"X2"
2"X1-1/2"X1-1/2"
2"X1-1/2"X2"
2"X2"X2-1/2"
2"X2"X3"
2-1/2"X2"X2"
3"X3"X4"
4"X4"X6"
6"X4"X4"
6"X4"X6"
6"X6"X8"
8"X6"X4"
8"X8"X10"
8"X8"X12"
10"X6"X6"
10"X6"X8"
10"X6"X10"
10"X8"X6"
10"X8"X8"
10"X8"X10"
10"X10"X12"
12"X6"X6"
12"X6"X8"
12"X6"X10"
12"X6"X12"
12"X8"X6"
12"X8"X8"
12"X8"X10"
12"X8"X12"
12"X10"X6"
12"X10"X8"
12"X10"X10"
12"X10"X12"
Other (place in comments field)