APPENDIX B: Asset Table/As-built cad drawing Feature ID block naming conventions

(the asterisk in the Feature ID column represents the wild card sequential number entry that you will need to provide):

| Block Name | Feature ID | Layer | Description |
| --- | --- | --- | --- |
| WM_RPZ | WATER WM_RPZ_* | CU-WATR-DOMC-INFS | Water Reduced Pressure Zone |
| WM_CV | WM_CV_* | CU-WATR-DOMC-INFS | Water Check Valve |
| WM_DBLCV | WM_DBLCV_* | CU-WATR-DOMC-INFS | Water Double Detector Check Valve |
| WM_DIA_APT_COUPLING | WM_DIA_APT_COUPLING_* | CU-WATR-DOMC-INFS | Water Coupling |
| WM_SLEEVE | WM_SLEEVE_* | CU-WATR-DOMC-INFS | Water Sleeve |
| WM_FLUSHHYD | WM_FLUSHHYD_* | CU-WATR-DOMC-INFS | Water Flushing Hydrant |
| WM_LWBOX | WM_LWBOX_* | CU-WATR-DOMC-INFS | Water Locate Wire Box |
| WM_METER | WM_METER_* | CU-WATR-DOMC-INFS | Water Meter |
| WM_TAP_CAP_wFLHYD | WM_TAP_CAP_wFLHYD_* | CU-WATR-DOMC-INFS | Water Tap Cap |
| WM_FIREHYD | WM_FIREHYD_* | CU-WATR-DOMC-INFS | Water Fire Hydrant |
| WM_PLUG | WM_PLUG_* | CU-WATR-DOMC-INFS | Water Plug/Cap |
| WM_VALVE | WM_VALVE_* | CU-WATR-DOMC-INFS | Water Valve |
| WM_ARV | WM_ARV_* | CU-WATR-DOMC-INFS | Water Air Release Valve |
| WM_REDUCER | WM_REDUCER_* | CU-WATR-DOMC-INFS | Water Reducer |
| WM_CROSS | WM_CROSS_* | CU-WATR-DOMC-INFS | Water Cross |
| WM_BEND_11.25 | WM_BEND_11.25__* | CU-WATR-DOMC-INFS | Water 11.25˚ Bend |
| WM_BEND_22.5 | WM_BEND_22.5__* | CU-WATR-DOMC-INFS | Water 22.5˚ Bend |
| WM_BEND_45 | WM_BEND_45__* | CU-WATR-DOMC-INFS | Water 45˚ Bend |
| WM_BEND_90 | WM_BEND_90__* | CU-WATR-DOMC-INFS | Water 90˚ Bend |
| WM_BEND_TURNED | WM_BEND_TURNED_* | CU-WATR-DOMC-INFS | Water Bend Turned |
| WM_CASING WM_TEE | WM_CASING_* WM_TEE_* | CU-WATR-DOMC-INFS CU-WATR-DOMC-INFS | Water Main Casing Water Tee or Tap Saddle |
| RE_CV | RECLAIM RE_CV_* | CU-WATR-RECL-INFS | Reuse Check Valve |
| RE_DBLCV | RE_DBLCV_* | CU-WATR-RECL-INFS | Reuse Double Detector Check Valve |
| RE_DIA_APT_COUPLING | RE_DIA_APT_COUPLING_* | CU-WATR-RECL-INFS | Reuse Coupling |
| RE_SLEEVE | RE_SLEEVE_* | CU-WATR-RECL-INFS | Reuse Sleeve |
| RE_FLUSHHYD | RE_FLUSHHYD_* | CU-WATR-RECL-INFS | Reuse Flushing Hydrant |
| RE_LWBOX | RE_LWBOX_* | CU-WATR-RECL-INFS | Reuse Locate Wire Box |
| RE_METER | RE_METER_* | CU-WATR-RECL-INFS | Reuse Meter |
| RE_TAP_CAP_wFLHYD | RE_TAP_CAP_wFLHYD_* | CU-WATR-RECL-INFS | Reuse Tap Cap |
| RE_FIREHYD | RE_FIREHYD_* | CU-WATR-RECL-INFS | Reuse Fire Hydrant |
| RE_PLUG | RE_PLUG_* | CU-WATR-RECL-INFS | Reuse Plug/Cap |
| RE_VALVE | RE_VALVE_* | CU-WATR-RECL-INFS | Reuse Valve |
| RE_ARV | RE_ARV_* | CU-WATR-RECL-INFS | Reuse Air Release Valve |
| RE_REDUCER | RE_REDUCER_* | CU-WATR-RECL-INFS | Reuse Reducer |
| RE_CROSS | RE_CROSS_* | CU-WATR-RECL-INFS | Reuse Cross |
| RE_BEND_11.25 | RE_BEND_11.25__* | CU-WATR-RECL-INFS | Reuse 11.25˚ Bend |
| RE_BEND_22.5 | RE_BEND_22.5__* | CU-WATR-RECL-INFS | Reuse 22.5˚ Bend |
| RE_BEND_45 | RE_BEND_45__* | CU-WATR-RECL-INFS | Reuse 45˚ Bend |
| RE_BEND_90 | RE_BEND_90__* | CU-WATR-RECL-INFS | Reuse 90˚ Bend |
| RE_BEND_TURNED | RE_BEND_TURNED_* | CU-WATR-RECL-INFS | Reuse Bend Turned |
| RE_CASING | RE_CASING_* | CU-WATR-RECL-INFS | Reuse Main Casing |
| FM_CV | SEWER FM_CV_* | CU-SSWR-FORC-INFS | Force Main Check Valve |
| FM_DBLCV | FM_DBLCV_* | CU-SSWR-FORC-INFS | Force Main Double Detector Check Valve |
| FM_DIA_APT_COUPLING | FM_DIA_APT_COUPLING_* | CU-SSWR-FORC-INFS | Force Main Coupling |
| FM_SLEEVE | FM_SLEEVE_* | CU-SSWR-FORC-INFS | Force Main Sleeve |
| FM_FLUSHHYD | FM_FLUSHHYD_* | CU-SSWR-FORC-INFS | Force Main Flushing Hydrant |
| FM_LWBOX | FM_LWBOX_* | CU-SSWR-FORC-INFS | Force Main Locate Wire Box |
| FM_TAP_CAP_wFLHYD | FM_TAP_CAP_wFLHYD_* | CU-SSWR-FORC-INFS | Force Main Tap Cap |
| FM_PLUG | FM_PLUG_* | CU-SSWR-FORC-INFS | Force Main Plug/Cap |
| FM_VALVE | FM_VALVE_* | CU-SSWR-FORC-INFS | Force Main Valve |
| FM_ARV | FM_ARV_* | CU-SSWR-FORC-INFS | Force Main Air Release Valve |
| FM_FMDUCER | FM_FMDUCER_* | CU-SSWR-FORC-INFS | Force Main Reducer |
| FM_CROSS | FM_CROSS_* | CU-SSWR-FORC-INFS | Force Main Cross |
| FM_BEND_11.25 | FM_BEND_11.25__* | CU-SSWR-FORC-INFS | Force Main 11.25˚ Bend |
| FM_BEND_22.5 | FM_BEND_22.5__* | CU-SSWR-FORC-INFS | Force Main 22.5˚ Bend |
| FM_BEND_45 | FM_BEND_45__* | CU-SSWR-FORC-INFS | Force Main 45˚ Bend |
| FM_BEND_90 | FM_BEND_90__* | CU-SSWR-FORC-INFS | Force Main 90˚ Bend |
| FM_BEND_TURNED | FM_BEND_TURNED_* | CU-SSWR-FORC-INFS | Force Main Bend Turned |
| FM_CASING | FM_CASING_* | CU-SSWR-FORC-INFS | Force Main Casing |
| SS_PLUG | SS_PLUG_* | CU-SSWR-GRAV-INFS | Gravity Sewer Plug |
| SS_MANHOLE | SS_MANHOLE_* | CU-SSWR-GRAV-INFS | Gravity Sewer Plug |
| SS_CLEANOUT | SS_CLEANOUT_* | CU-SSWR-GRAV-INFS | Gravity Sewer Plug |