## Contractor Info
As-built Asset Table
Project Name: | Holstien Crossing Phase 1
Contractor Company Name: | USINA
Contractor Contact Number: | 904-829-6727
Surveyor or Engineer Company Name: | SURVEY AND MAPPING, LLC.
Surveyor or Engineer Contact Number: | Professional Surveyor and Mapper #6223
John S. Thomas
9440 Philips Highway Suite 7
Jacksonville, Florida 32256
904-886-0071

## Fire Hydrant
Feature ID | Plan Sheet Number | Model Number | Manufacturer | Direction to Open | Fire Hydrant Size | Year of Installation | Date of Installation | Main Size @ F.H. Connection | Manufacturer Year | Owned By | Current Doc. # (CCUA Use Only) | Fire Hydrant # (CCUA Use Only)
WM_FIREHYD_1 | C-18 | A-423 | Mueller Co. | Turn left to open valve | 6" | 2024 | 2024-04-20 | 8" | 2023 | CCUA
WM_FIREHYD_2 | C-19 | A-423 | Mueller Co. | Turn left to open valve | 6" | 2024 | 2024-04-24 | 8" | 2023 | CCUA
WM_FIREHYD_3 | C-20 | A-423 | Mueller Co. | Turn left to open valve | 6" | 2024 | 2024-04-27 | 8" | 2023 | CCUA
WM_FIREHYD_4 | C-21 | A-423 | Mueller Co. | Turn left to open valve | 6" | 2024 | 2024-04-29 | 8" | 2023 | CCUA
WM_FIREHYD_5 | C-22 | A-423 | Mueller Co. | Turn left to open valve | 6" | 2024 | 2024-05-03 | 8" | 2023 | CCUA
WM_FIREHYD_6 | C-26 | A-423 | Mueller Co. | Turn left to open valve | 6" | 2024 | 2024-05-09 | 8" | 2023 | CCUA
WM_FIREHYD_7 | C-23 | A-423 | Mueller Co. | Turn left to open valve | 6" | 2024 | 2024-05-07 | 8" | 2023 | CCUA

## Valve
Feature ID | Plan Sheet Number | Valve Type | Direction to Open | Valve Size | Year of Installation | Type of Joint Fitting | Main Type | Model Number | Manufacturer | # Of Turns To Open | Material Transition | Survey Elevation | Owned By | Current Doc. # (CCUA Use Only)
WM_VALVE_1 | C-16 | Gate Valve | Turn left to open valve | 10" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 69.93 | CCUA
WM_VALVE_2 | C-16 | Gate Valve | Turn left to open valve | 10" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 33 | No | 69.94 | CCUA
WM_VALVE_3 | C-16 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 69.67 | CCUA
WM_VALVE_4 | C-18 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 20.5 | No | 69.65 | CCUA
WM_VALVE_5 | C-18 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 69.13 | CCUA
WM_VALVE_6 | C-16 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 69.58 | CCUA
WM_VALVE_7 | C-19 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 20.5 | No | 71.42 | CCUA
WM_VALVE_9 | C-20 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 20.5 | No | 66.02 | CCUA
WM_VALVE_10 | C-20 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 65.61 | CCUA
WM_VALVE_11 | C-21 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 20.5 | No | 67.3 | CCUA
WM_VALVE_12 | C-22 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 60.81 | CCUA
WM_VALVE_13 | C-22 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 62.02 | CCUA
WM_VALVE_14 | C-22 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 60.58 | CCUA
WM_VALVE_15 | C-24 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 58.14 | CCUA
WM_VALVE_16 | C-24 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 60.71 | CCUA
WM_VALVE_17 | C-22 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 20.5 | No | 60.22 | CCUA
WM_VALVE_18 | C-22 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 54.25 | CCUA
WM_VALVE_19 | C-22 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 53.81 | CCUA
WM_VALVE_20 | C-26 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 20.5 | No | 53.93 | CCUA
WM_VALVE_21 | C-26 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 53.27 | CCUA
WM_VALVE_22 | C-22 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 26.5 | No | 53.74 | CCUA
WM_VALVE_23 | C-23 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. | 20.5 | No | 50.17 | CCUA
RE_VALVE_1 | C-16 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 26.5 | No | 69.24 | CCUA
RE_VALVE_2 | C-16 | Gate Valve | Turn left to open valve | 8" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 26.5 | No | 69.18 | CCUA
RE_VALVE_3 | C-16 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 20.5 | No | 68.76 | CCUA
RE_VALVE_4 | C-18 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 20.5 | No | 68.09 | CCUA
RE_VALVE_5 | C-16 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 20.5 | No | 68.8 | CCUA
RE_VALVE_6 | C-22 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 20.5 | No | 59.43 | CCUA
RE_VALVE_7 | C-22 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 20.5 | No | 59.98 | CCUA
RE_VALVE_8 | C-24 | Gate Valve | Turn left to open valve | 4" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 14 | No | 58.78 | CCUA
RE_VALVE_9 | C-22 | Gate Valve | Turn left to open valve | 4" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 14 | No | 58.73 | CCUA
RE_VALVE_10 | C-22 | Gate Valve | Turn left to open valve | 4" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 14 | No | 54.06 | CCUA
RE_VALVE_11 | C-26 | Gate Valve | Turn left to open valve | 4" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 14 | No | 52.19 | CCUA
RE_VALVE_12 | C-22 | Gate Valve | Turn left to open valve | 4" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 14 | No | 53.98 | CCUA
FM_VALVE_1 | C-16 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Force Main | A-2361-23 | MUELLER CO. | 20.5 | No | 67.41 | CCUA
FM_VALVE_2 | C-23 | Gate Valve | Turn left to open valve | 6" | 2024 | Mechanical Joint | Force Main | A-2361-23 | MUELLER CO. | 20.5 | No | 53.53 | CCUA
WM_VALVE_24 | C-23 | Gate Valve | Turn left to open valve | 1-1/2" | 2024 | Mechanical Joint | Water | A-2361-23 | MUELLER CO. |  | No | 49.7 | CCUA
RE_VALVE_13 | C-24 | Gate Valve | Turn left to open valve | 4" | 2024 | Mechanical Joint | Reuse | A-2361-23 | MUELLER CO. | 14 | No | 56.7 | CCUA
FM_ARV_1 | C-22 | Air Release Valve | Unknown | 2" | 2024 | Mechanical Joint | Force Main |  |  |  | No | 61.54 | CCUA
FM_ARV_2 | C-20 | Air Release Valve | Unknown | 2" | 2024 | Mechanical Joint | Force Main |  |  |  | No | 72.23 | CCUA

## RPZ
Feature ID | Plan Sheet Number | Size of RPZ | Year of Installation | Material Transition | Type of Joint Fitting | Owned By | Current Doc. # (CCUA Use Only)
WM_RPZ_1 | C-23 | 1-1/2" | 2024 | No | Mechanical Joint | CCUA

## Bends
Feature ID | Plan Sheet Number | Main Type | Fitting Size | Material Type | Year of Installation | Type of Joint Fitting | Bend Used To Avoid Conflict | Degree Of Bend | Survey Elevation | Material Transition | Current Doc. # (CCUA Use Only)
WM_BEND_TURNED_1 | C-16 | Water | 10" | Ductile Iron | 2024 | Mechanical Joint | Yes, Turned | 90 Degree | 68.26 | No
WM_BEND_TURNED_2 | C-16 | Water | 10" | Ductile Iron | 2024 | Mechanical Joint | Yes, Turned | 90 Degree | 65.14 | No
WM_22.5BEND_1 | C-18 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 67.42 | No
WM_22.5BEND_2 | C-18 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 65.51 | No
WM_22.5BEND_3 | C-18 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 68.48 | No
WM_22.5BEND_4 | C-19 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 69.62 | No
WM_22.5BEND_5 | C-19 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 69.82 | No
WM_22.5BEND_6 | C-19 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 69.43 | No
WM_45BEND_3 | C-19 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 68.25 | No
WM_22.5BEND_7 | C-20 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 66.2 | No
WM_22.5BEND_8 | C-20 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 65.42 | No
WM_22.5BEND_9 | C-20 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 64.46 | No
WM_BEND_TURNED_4 | C-20 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 63.92 | No
WM_BEND_TURNED_5 | C-20 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 60.25 | No
WM_22.5BEND_10 | C-20 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 59.86 | No
WM_BEND_TURNED_6 | C-20 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 59.82 | No
WM_BEND_TURNED_7 | C-20 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 62.94 | No
WM_22.5BEND_11 | C-21 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 64.99 | No
WM_22.5BEND_12 | C-21 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 65.21 | No
WM_22.5BEND_13 | C-21 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 65.43 | No
WM_22.5BEND_14 | C-21 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 65.95 | No
WM_22.5BEND_15 | C-22 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 60.26 | No
WM_22.5BEND_16 | C-22 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 59.99 | No
WM_22.5BEND_17 | C-22 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 59 | No
WM_22.5BEND_18 | C-22 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 58.55 | No
WM_BEND_TURNED_8 | C-24 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 57.17 | No
WM_BEND_TURNED_9 | C-24 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 54.44 | No
WM_BEND_TURNED_10 | C-24 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 54.18 | No
WM_BEND_TURNED_11 | C-24 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 56.8 | No
WM_BEND_TURNED_12 | C-22 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 53.5 | No
WM_BEND_TURNED_13 | C-22 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 50.54 | No
WM_BEND_TURNED_14 | C-22 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 49.96 | No
WM_BEND_TURNED_15 | C-22 | Water | 8" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 52.62 | No
WM_22.5BEND_19 | C-23 | Water | 4" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 44.09 | No
WM_45BEND_16 | C-23 | Water | 4" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 43.2 | No
WM_22.5BEND_20 | C-23 | Water | 4" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 42.39 | No
RE_BEND_TURNED_1 | C-16 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 67.83 | No
RE_BEND_TURNED_2 | C-16 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 65.68 | No
RE_BEND_TURNED_3 | C-16 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 65.98 | No
RE_BEND_TURNED_4 | C-16 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 68.1 | No
RE_22.5BEND_1 | C-18 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 67 | No
RE_22.5BEND_2 | C-18 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 67.11 | No
RE_22.5BEND_3 | C-18 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 66.85 | No
RE_22.5BEND_4 | C-19 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 68.55 | No
RE_45BEND_5 | C-19 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 68.45 | No
RE_22.5BEND_5 | C-19 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 68.5 | No
RE_22.5BEND_6 | C-19 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 68.75 | No
RE_22.5BEND_7 | C-19 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 68.98 | No
RE_22.5BEND_8 | C-19 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 68.97 | No
RE_22.5BEND_9 | C-19 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 68.9 | No
RE_22.5BEND_10 | C-19 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 68.75 | No
RE_45BEND_6 | C-19 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 68.42 | No
RE_22.5BEND_11 | C-19 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 67.42 | No
RE_22.5BEND_12 | C-20 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 67.35 | No
RE_22.5BEND_13 | C-20 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 65.4 | No
RE_22.5BEND_14 | C-20 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 64.88 | No
RE_22.5BEND_15 | C-20 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 63.5 | No
RE_22.5BEND_16 | C-20 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 62.87 | No
RE_22.5BEND_17 | C-21 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 63.92 | No
RE_22.5BEND_18 | C-21 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 64.13 | No
RE_22.5BEND_19 | C-21 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 64.31 | No
RE_22.5BEND_20 | C-21 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 64.55 | No
RE_BEND_TURNED_7 | C-22 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 58.89 | No
RE_BEND_TURNED_8 | C-22 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 56.47 | No
RE_BEND_TURNED_9 | C-22 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 56.35 | No
RE_BEND_TURNED_10 | C-22 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 58.31 | No
RE_22.5BEND_21 | C-22 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 58.45 | No
RE_22.5BEND_22 | C-22 | Reuse | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 58.56 | No
RE_BEND_TURNED_11 | C-24 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 57.62 | No
RE_BEND_TURNED_12 | C-24 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 55.94 | No
RE_45BEND_11 | C-24 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 56.44 | No
RE_BEND_TURNED_26 | C-24 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 56.51 | No
RE_BEND_TURNED_13 | C-24 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 58.12 | No
RE_45BEND_14 | C-24 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 58.27 | No
RE_45BEND_15 | C-22 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 52.41 | No
RE_45BEND_16 | C-26 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 51.97 | No
RE_BEND_TURNED_17 | C-26 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 50.6 | No
RE_BEND_TURNED_18 | C-26 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 46.75 | No
RE_BEND_TURNED_19 | C-26 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 46.6 | No
RE_BEND_TURNED_20 | C-26 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 51.12 | No
RE_22.5BEND_23 | C-26 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 43.29 | No
RE_22.5BEND_24 | C-26 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 42.25 | No
RE_22.5BEND_25 | C-26 | Reuse | 4" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 42.52 | No
FM_BEND_TURNED_1 | C-16 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 90 Degree | 66.17 | No
FM_BEND_TURNED_2 | C-16 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 90 Degree | 63.93 | No
FM_BEND_TURNED_3 | C-16 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 90 Degree | 63.88 | No
FM_BEND_TURNED_4 | C-16 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 90 Degree | 66.07 | No
FM_BEND_45_5 | C-16 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 67.45 | No
FM_BEND_45_6 | C-16 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 67.32 | No
FM_BEND_22.5_1 | C-19 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 67.92 | No
FM_BEND_45_7 | C-19 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 67.87 | No
FM_BEND_22.5_2 | C-19 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 68.23 | No
FM_BEND_22.5_3 | C-19 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 68.2 | No
FM_BEND_22.5_4 | C-19 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 68.29 | No
FM_BEND_22.5_5 | C-19 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 67.42 | No
FM_BEND_22.5_6 | C-19 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 67.16 | No
FM_BEND_22.5_7 | C-19 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 67.29 | No
FM_BEND_45_8 | C-19 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 67.46 | No
FM_BEND_22.5_8 | C-19 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 66.87 | No
FM_BEND_11.25_1 | C-20 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 11-1/4 Degree | 66.74 | No
FM_BEND_22.5_9 | C-20 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 63.41 | No
FM_BEND_22.5_10 | C-20 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 63.05 | No
FM_BEND_22.5_11 | C-20 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 62.07 | No
FM_BEND_22.5_12 | C-20 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 61.74 | No
FM_BEND_22.5_13 | C-21 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 63.35 | No
FM_BEND_22.5_14 | C-21 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 63.51 | No
FM_BEND_22.5_15 | C-21 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 64.02 | No
FM_BEND_22.5_16 | C-21 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 22-1/2 Degree | 64.11 | No
FM_BEND_TURNED_9 | C-22 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 57.51 | No
FM_BEND_TURNED_10 | C-22 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 55.16 | No
FM_BEND_TURNED_11 | C-22 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 55.21 | No
FM_BEND_TURNED_12 | C-22 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | 56.99 | No
FM_BEND_45_13 | C-23 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 48.07 | No
FM_BEND_45_14 | C-23 | Force Main | 6" | Ductile Iron | 2024 | Mechanical Joint | No | 45 Degree | 47.72 | No

## Fittings
Feature ID | Plan Sheet Number | Main Type | Fitting Type | Fitting Size | Material Type | Year of Installation | Type of Joint Fitting | Owned By | Material Transition | Current Doc. # (CCUA Use Only)
WM_TEE_2 | C-16 | Water | Tee | 10" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_REDUCER_1 | C-16 | Water | Reducer | 10"X8" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_1 | C-16 | Water | Tapping Saddle | 12"X10" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_3 | C-18 | Water | Hydrant Tee | 8"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_PLUG_1 | C-18 | Water | Cap used to end main | 8"X2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_FLUSHHYD_1 | C-18 | Water | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_REDUCER_2 | C-16 | Water | Reducer | 10"X8" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_4 | C-19 | Water | Hydrant Tee | 8"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_5 | C-20 | Water | Hydrant Tee | 8"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_6 | C-21 | Water | Hydrant Tee | 8"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_7 | C-22 | Water | Tee | 8" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_8 | C-22 | Water | Tee | 8" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_PLUG_2 | C-24 | Water | Cap used to end main | 8"X2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | Yes
WM_FLUSHHYD_2 | C-24 | Water | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_9 | C-22 | Water | Hydrant Tee | 8"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_10 | C-22 | Water | Tee | 8" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_11 | C-26 | Water | Hydrant Tee | 8"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_PLUG_3 | C-26 | Water | Cap used to end main | 8"X2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_FLUSHHYD_3 | C-26 | Water | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_12 | C-23 | Water | Hydrant Tee | 8"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_REDUCER_3 | C-23 | Water | Reducer | 8"X4" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_PLUG_4 | C-23 | Water | Cap used to end main | 4"X2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | Yes
WM_FLUSHHYD_4 | C-23 | Water | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_TEE_1 | C-16 | Reuse | Tee | 8" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_REDUCER_1 | C-16 | Reuse | Reducer | 8"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_PLUG_1 | C-18 | Reuse | Cap used to end main | 6"X2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | Yes
RE_FLUSHHYD_1 | C-18 | Reuse | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_REDUCER_2 | C-16 | Reuse | Reducer | 8"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_TEE_2 | C-22 | Reuse | Tee | 6"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_TEE_3 | C-22 | Reuse | Tee | 6"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_REDUCER_3 | C-22 | Reuse | Reducer | 6"X4" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_PLUG_2 | C-24 | Reuse | Cap used to end main | 4"X2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | Yes
RE_FLUSHHYD_2 | C-24 | Reuse | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_REDUCER_4 | C-24 | Reuse | Reducer | 6"X4" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_TEE_4 | C-22 | Reuse | Tee | 4"X4" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_PLUG_3 | C-26 | Reuse | Cap used to end main | 4"X2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | Yes
RE_FLUSHHYD_3 | C-26 | Reuse | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_PLUG_4 | C-23 | Reuse | Cap used to end main | 4"X2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | Yes
RE_FLUSHHYD_4 | C-23 | Reuse | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
FM_TEE_1 | C-16 | Force Main | Tapping Saddle | 12"X6" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_TEE_5 | C-16 | Reuse | Tapping Saddle | 12"X8" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_PLUG_5 | C-24 | Water | Cap used to end main | 8"X2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_FLUSHHYD_5 | C-24 | Water | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_PLUG_5 | C-24 | Reuse | Cap used to end main | 6"X2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
RE_FLUSHHYD_5 | C-24 | Reuse | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_FLUSHHYD_6 | C-23 | Water | Flushing hydrant (or blow-off) | 1-1/2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No
WM_TEE_13 | C-23 | Water | Tee | 8"X1-1/2" | Ductile Iron | 2024 | Mechanical Joint | CCUA | No

## Locate Wire
Feature ID | Plan Sheet Number | Main Type | Owned By | Current Doc. # (CCUA Use Only)
WM_LWBOX_1 | C-20 | Water | CCUA
FM_LWBOX_1 | C-20 | Force Main | CCUA
FM_LWBOX_2 | C-19 | Force Main | CCUA
FM_LWBOX_3 | C-20 | Force Main | CCUA
FM_LWBOX_4 | C-21 | Force Main | CCUA
FM_LWBOX_5 | C-22 | Force Main | CCUA
FM_LWBOX_6 | C-22 | Force Main | CCUA
WM_LWBOX_2 | C-24 | Water | CCUA
RE_LWBOX_1 | C-19 | Reuse | CCUA
RE_LWBOX_2 | C-20 | Reuse | CCUA
RE_LWBOX_3 | C-20 | Reuse | CCUA
RE_LWBOX_4 | C-20 | Reuse | CCUA
RE_LWBOX_5 | C-22 | Reuse | CCUA

## Lift Station
Feature ID | Plan Sheet Number | Easting (X) | Northing (Y) | Inv. Elevation | Inv. Elevation | Inv. Elevation | Inv. Elevation Out | Top Elevation | Bottom Elevation | Lift Station Diameter | Owned By | Current Doc. # (CCUA Use Only)
SS_MANHOLE_19 | S-PCON/C-23 | 412109.49' | 2080082.66' |  |  | 39.78 | 39.68 | 53.6 | 32.06 | 8' | CCUA

## Jack & Bore Casing
Feature ID | Plan Sheet Number | Casing Size | Year of Installation | Main Type | Construction Of Main | Material Type | Upstream Casing Inv. | Downstream Casing Inv. | Owned By | Current Doc. # (CCUA Use Only)
#VALUE!

## Manhole
Feature ID | Plan Sheet Number | Design Manhole Number | Rim Elevation | Invert Elevation North | Invert El. Northeast | Invert El. East | Invert El. Southeast | Invert El. South | Invert El. Southwest | Invert El. West | Invert El. Northwest | Year of Installation | Current Doc. # (CCUA Use Only)
SS_MANHOLE_1 | C-18 | MH-16 | 70.88 |  | 66.33 |  |  |  | 66.08 |  |  | 2024
SS_MANHOLE_2 | C-18 | MH-15 | 71.07 |  | 65.89 |  |  |  |  | 64.25 |  | 2024
SS_MANHOLE_3 | C-16 | MH-1 | 72.18 |  |  | 63.09 |  |  |  | 63.02 |  | 2024
SS_MANHOLE_4 | C-19 | MH-2 | 72.28 | 62.14 |  | 62.21 | [5 empty] | 2024
SS_MANHOLE_5 | C-19 | MH-2A | 71.6 | 61.81 |  |  | 61.89 |  |  |  |  | 2024
SS_MANHOLE_6 | C-19 | MH-3 | 72.31 | 61.47 |  |  |  | 61.56 |  |  |  | 2024
SS_MANHOLE_7 | C-20 | MH-4 | 69.04 |  |  |  |  | 60.61 |  |  | 60.51 | 2024
SS_MANHOLE_8 | C-20 | MH-5 | 67.34 |  |  |  | 60.01 |  |  | 59.96 |  | 2024
SS_MANHOLE_9 | C-21 | MH-6 | 68.62 |  |  | 58.32 |  |  |  |  | 58.24 | 2024
SS_MANHOLE_10 | C-21 | MH-7 | 69.06 | 57.67 |  |  | 57.76 |  |  |  |  | 2024
SS_MANHOLE_11 | C-22 | MH-8 | 66.45 | 56.63 |  |  |  | 56.69 |  |  |  | 2024
SS_MANHOLE_12 | C-22 | MH-9 | 63.2 | 51.53 |  | 54.45 |  | 55.58 |  |  |  | 2024
SS_MANHOLE_13 | C-24 | MH-12 | 61.76 |  | 56.97 |  | 56.97 |  |  | 56.72 |  | 2024
SS_MANHOLE_14 | C-22 | MH-25 | 55.91 | 43.67 |  | 43.73 |  | 50.01 |  |  |  | 2024
SS_MANHOLE_15 | C-26 | MH-24 | 53.86 |  |  | 45.27 |  |  |  | 45.21 |  | 2024
SS_MANHOLE_16 | C-23 | MH-26 | 52.13 | 39.88 |  | 39.79 |  | 42.86 |  |  |  | 2024
SS_MANHOLE_17 | C-23 | MH-11 | 47.14 | 41.43 |  |  |  | 41.37 |  |  |  | 2024
SS_MANHOLE_18 | C-23 | MH-10 | 46.42 |  | 42.12 |  |  | 41.87 |  |  | 42.12 | 2024

## Cleanout
Feature ID | Plan Sheet Number | Cleanout Size | Inv. Elevation | Top Elevation | Year of Installation | Owned By | Current Doc. # (CCUA Use Only)

## Ranges For List Pulldown
CCUA | Water | Unknown | 4" | 2023 | 4" | WM_FIREHYD_1 | Gate Valve | 1/2" | 1/2" | Reducer
Others | Sewer | Turn left to open valve | 5" (Fire Dept. Connection) | 2024 | 6" | WM_FIREHYD_2 | Curbstop - (1/4 turn, lock & wing) | 3/4" | 3/4" | Tee
Unknown | Force Main | Turn right to open valve | 6" | 2025 | 8" | WM_FIREHYD_3 | Wheel Valve | 1" | 1" | Tapping Saddle
| Reuse |  |  | 2026 | 10" | WM_FIREHYD_4 | Butterfly Valve | 1-1/4" | 1-1/4" | Hydrant Tee
|  |  |  | 2027 | 12" | WM_FIREHYD_5 | Ball Valve - (1/4 turn) | 1-1/2" | 1-1/2" | Cross
|  |  |  | 2028 | 14" | WM_FIREHYD_6 | Plug Valve - (1/4 turn) | 1-3/4" | 1-3/4" | Service Saddle
[5 empty] | 16" | WM_FIREHYD_7 | Wedge Valve | 2" | 2" | Wye
|  | Unknown | No casing installed |  | 18" | WM_FIREHYD_8 | Knife Valve | 2-1/2" | 2-1/2" | Adapter Coupling
Unknown |  | PVC | Unknown casing size |  | 20" | WM_FIREHYD_9 | Check Valve | 3" | 3" | HDPE / PVC Adapter
Flanged Joint |  | PVC C-900 | 2" |  | 22" | WM_FIREHYD_10 | Swing Check Valve | 3-1/2" | 3-1/2" | Sleeve
Mechanical Joint |  | Ductile Iron | 4" |  |  | WM_FIREHYD_11 | Spring & Lever Check Valve | 4" | 4" | Cap used to end main
Push-on |  | Clay | 6" |  |  | WM_FIREHYD_12 | Double Detector Check Valve | 5" | 5" | Main ends with stubout
Glued |  | Galvanized | 8" |  |  | WM_FIREHYD_13 | Rise & Stem Valve | 6" | 6" | Plug used to end main
Thread / Slip |  | Stainless Steel | 10" |  |  | WM_FIREHYD_14 | Gear Reduction Valve | 8" | 8" | Main ends with tapped cap
Wrap around |  | Bronze | 12" |  |  | WM_FIREHYD_15 | Tapping Valve | 10" | 10" | Main ends with manifold
|  | Aluminum | 14" | Unknown |  | WM_FIREHYD_16 | Altitude Valve | 12" | 12" | Flushing hydrant (or blow-off)
|  | Cement Asbestos | 16" | Jack & Bore |  | WM_FIREHYD_17 | Air Release Valve | 14" | 14" | Main ends with service connection
|  | Copper | 18" | Open-cut casing |  | WM_FIREHYD_18 |  | 16" | 16"
|  | Cast Iron | 20" | Unknown |  | WM_FIREHYD_19 |  | 18" | 18"
|  | HDPE | 24" |  |  | WM_FIREHYD_20 | Unknown | 20"
|  | Fusible C-900 PVC | 30" |  |  |  | Flanged Joint | 22" |  | Unknown
|  | Fusible C-905 PVC | 36" |  |  |  | Mechanical Joint | 24" |  | 11-1/4 Degree
|  | Gray Iron |  |  |  |  | Push-on | 26" |  | 22-1/2 Degree
|  | Steel |  |  |  |  | Glued | 28" |  | 45 Degree
|  | PVC-C100 |  |  |  |  | Thread / Slip | 30" |  | 90 Degree
[7 empty] | Wrap around | 32"
|  |  | 3" |  |  |  |  | 34"
| Unknown |  | 4" |  |  | Waterous Hydrant |  | 36" |  | No
| 1/4" |  | 6" |  |  | Mueller Co. |  |  |  | Yes, Turned
| 1/4"X1/4" |  | 8" |  |  | American AVK Company |  |  |  | Yes, Type "B" Crossing
| 1/2" |  | 10" |  |  | Clow Valve Co. |  |  |  | Unknown
| 1/2"X1/4" |  | 12" |  |  | M&H Valve Co.
| 1/2"X1/2" |  | 14"
| 5/8" |  | 16"
5/8"X1/2"
5/8"X5/8"
| 5/8"X3/4" |  | No
| 3/4" |  | Yes |  |  |  | Bend 11.25°
| 3/4"X1/4" |  | Unknown / Not applicable |  |  |  | Bend 22.5°
| 3/4"X1/2" | [5 empty] | Bend 45°
| 3/4"X3/4" | [5 empty] | Bend 90°
| 1" | [5 empty] | Type "B" Bend 11.25°
| 1"X1/4" | [5 empty] | Type "B" Bend 22.5°
| 1"X1/2" | [5 empty] | Type "B" Bend 45°
| 1"X3/4" | [5 empty] | Type "B" Bend 90°
1"X1"
1-1/4"
1-1/4"X3/4"
1-1/4"X1"
1-1/4"X1-1/4"
1-1/2"
1-1/2"X3/4"
1-1/2"X1"
1-1/2"X1-1/4"
| 1-1/2"X1-1/2" |  | Unknown
| 2" |  | PVC
| 2"X1/4" |  | PVC C-900
| 2"X1/2" |  | Ductile Iron
| 2"X3/4" |  | Clay
| 2"X1" |  | Galvanized
| 2"X1-1/4" |  | Stainless Steel
| 2"X1-1/2" |  | Bronze
| 2"X2" |  | Aluminum
| 2-1/2" |  | Cement Asbestos
| 2-1/2"X3/4" |  | Copper
| 2-1/2"X1" |  | Cast Iron
| 2-1/2"X1-1/2" |  | HDPE
| 2-1/2"X2" |  | Fusible C-900 PVC
| 2-1/2"X2-1/2" |  | Fusible C-905 PVC
| 3" |  | Gray Iron
| 3"X3/4" |  | Steel
3"X1"
3"X1-1/4"
3"X1-1/2"
3"X1-3/4"
3"X2"
3"X2-1/4"
3"X2-1/2"
3"X2-3/4"
3"X3"
4"
4"X3/4"
4"X1"
4"X1-1/2"
4"X2"
4"X2-1/2"
4"X3"
4"X4"
5"
6"
6"X3/4"
6"X1"
6"X1-1/2"
6"X2"
6"X2-1/2"
6"X3"
6"X4"
6"X6"
8"
8"X3/4"
8"X1"
8"X1-1/2"
8"X2"
8"X2-1/2"
8"X3"
8"X4"
8"X6"
8"X8"
10"
10"X3/4"
10"X1"
10"X1-1/2"
10"X2"
10"X2-1/2"
10"X3"
10"X4"
10"X6"
10"X8"
10"X10"
12"
12"X3/4"
12"X1"
12"X1-1/2"
12"X2"
12"X2-1/2"
12"X3"
12"X4"
12"X6"
12"X8"
12"X10"
12"X12"
14"
14"X3/4"
14"X1"
14"X1-1/2"
14"X2"
14"X2-1/2"
14"X3"
14"X4"
14"X6"
14"X8"
14"X10"
14"X12"
14"X14"
16"
16"X3/4"
16"X1"
16"X1-1/2"
16"X2"
16"X2-1/2"
16"X3"
16"X4"
16"X6"
16"X8"
16"X10"
16"X12"
16"X14"
16"X16"
18"
18"X3/4"
18"X1"
18"X1-1/2"
18"X2"
18"X2-1/2"
18"X3"
18"X4"
18"X6"
18"X8"
18"X10"
18"X12"
18"X14"
18"X16"
18"X18"
20"
20"X3/4"
20"X1"
20"X1-1/2"
20"X2"
20"X2-1/2"
20"X3"
20"X4"
20"X6"
20"X8"
20"X10"
20"X12"
20"X14"
20"X16"
20"X18"
20"X20"
24"
24"X3/4"
24"X1"
24"X1-1/2"
24"X2"
24"X2-1/2"
24"X3"
24"X4"
24"X6"
24"X8"
24"X10"
24"X12"
24"X14"
24"X16"
24"X18"
24"X20"
24"X24"
30"
30"X3/4"
30"X1"
30"X1-1/2"
30"X2"
30"X2-1/2"
30"X3"
30"X4"
30"X6"
30"X8"
30"X10"
30"X12"
30"X14"
30"X16"
30"X18"
30"X20"
30"X24"
30"X30"
36"
36"X3/4"
36"X1"
36"X1-1/2"
36"X2"
36"X2-1/2"
36"X3"
36"X4"
36"X6"
36"X8"
36"X10"
36"X12"
36"X14"
36"X16"
36"X18"
36"X20"
36"X24"
36"X30"
36"X36"
48"
48"X3/4"
48"X1"
48"X1-1/2"
48"X2"
48"X2-1/2"
48"X3"
48"X4"
48"X6"
48"X8"
48"X10"
48"X12"
48"X14"
48"X16"
48"X18"
48"X20"
48"X24"
48"X30"
48"X36"
48"X48"
Uncommon sizes for service saddles listed below
4"X1-1/4"
6"X1-1/4"
8"X1-1/4"
10"X1-1/4"
12"X1-1/4"
14"X1-1/4"
16"X1-1/4"
18"X1-1/4"
20"X1-1/4"
24"X1-1/4"
30"X1-1/4"
36"X1-1/4"
48"X1-1/4"
Uncommon sizes for tees listed below (RUN X RUN X BRANCH)
1/4"X1/4"X1/2"
1/2"X1/4"X1/4"
1/2"X1/4"X1/2"
1/2"X1/2"X3/4"
3/4"X1/2"X1/4"
3/4"X3/4"X1"
3/4"X3/4"X1-1/4"
3/4"X3/4"X1-1/2"
1"X1/2"X1/2"
1"X1/2"X3/4"
1"X1/2"X1"
1"X3/4"X1/2"
1"X3/4"X3/4"
1"X3/4"X1"
1"X1"X1-1/2"
1-1/4"X1/2"X1/2"
1-1/4"X1/2"X3/4"
1-1/4"X1/2"X1"
1-1/4"X1/2"X1-1/4"
1-1/4"X3/4"X1/2"
1-1/4"X3/4"X3/4"
1-1/4"X3/4"X1"
1-1/4"X3/4"X1-1/2"
1-1/4"X1"X1/2"
1-1/4"X1"X3/4"
1-1/4"X1"X1"
1-1/4"X1"X1-1/2"
1-1/4"X1-1/4"X1-1/2"
1-1/4"X1-1/4"X2"
1-1/4"X1-1/2"X1-1/4"
1-1/4"X1-1/2"X2"
1-1/2"X1/2"X1/2"
1-1/2"X1/2"X3/4"
1-1/2"X1/2"X1"
1-1/2"X1/2"X1-1/2"
1-1/2"X3/4"X1/2"
1-1/2"X3/4"X3/4"
1-1/2"X3/4"X1"
1-1/2"X3/4"X1-1/2"
1-1/2"X1"X1/2"
1-1/2"X1"X3/4"
1-1/2"X1"X1"
1-1/2"X1"X1-1/2"
1-1/2"X1-1/2"X2"
2"X1-1/2"X1-1/2"
2"X1-1/2"X2"
2"X2"X2-1/2"
2"X2"X3"
2-1/2"X2"X2"
3"X3"X4"
4"X4"X6"
6"X4"X4"
6"X4"X6"
6"X6"X8"
8"X6"X4"
8"X8"X10"
8"X8"X12"
10"X6"X6"
10"X6"X8"
10"X6"X10"
10"X8"X6"
10"X8"X8"
10"X8"X10"
10"X10"X12"
12"X6"X6"
12"X6"X8"
12"X6"X10"
12"X6"X12"
12"X8"X6"
12"X8"X8"
12"X8"X10"
12"X8"X12"
12"X10"X6"
12"X10"X8"
12"X10"X10"
12"X10"X12"
Other (place in comments field)