## Contractor Info
As-built Asset Table
Project Name: | RUSSELL RETREAT
Contractor Company Name: | USINA
Contractor Contact Number: | 904-829-6727
Surveyor or Engineer Company Name: | SAM, LLC
Surveyor or Engineer Contact Number: | (904) 886-0071

## Fire Hydrant
Feature ID | Plan Sheet Number | Model Number | Easting (X) | Northing (Y) | Manufacturer | Direction to Open | Fire Hydrant Size | Year of Installation | Date of Installation | Main Size @ F.H. Connection | Manufacturer Year | Main Type | Owned By | Current Doc. # (CCUA Use Only) | Fire Hydrant # (CCUA Use Only)
WM_FIREHYD_1 | C8 | A-423 | 407532.692 | 2087824.61 | Mueller Co. | Turn left to open valve | 6" | 2023 | 2023-11-20 | 6" | 2023 | Water | Clay County Utility Authority
WM_FIREHYD_2 | C9 | A-423 | 407755.372 | 2087349.846 | Mueller Co. | Turn left to open valve | 6" | 2023 | 2023-11-20 | 6" | 2023 | Water | Clay County Utility Authority

## RPZ
ID Number | Plan Sheet Number | Size of RPZ | Year of Installation | Type of Joint Fitting | Owned By | Current Doc. # (CCUA Use Only)
WM_RPZ_1 | C10 | 1-1/2" | 2023 | Mechanical Joint | Clay County Utility Authority

## Valve
Feature ID | Plan Sheet Number | Easting (X) | Northing (Y) | Elevation | Valve Type | Direction to Open | Valve Size | Year of Installation | Type of Joint Fitting | Main Type | Model Number | Manufacturer | # Of Turns To Open | Owned By | Current Doc. # (CCUA Use Only)
WM_VALVE_1 | C8 | 407542.613 | 2087833.799 | 25.85 | Gate Valve | Turn left to open valve | 8" | 2023 | Mechanical Joint | Water | 2500-1 | American Flow Control | 26 | Clay County Utility Authority
WM_VALVE_2 | C8 | 407549.227 | 2087833.546 | 25.658 | Gate Valve | Turn left to open valve | 8" | 2023 | Mechanical Joint | Water | 2500-1 | American Flow Control | 26 | Clay County Utility Authority
WM_VALVE_3 | C8 | 407530.806 | 2087826.525 | 25.753 | Gate Valve | Turn left to open valve | 6" | 2023 | Mechanical Joint | Water | 2500-1 | American Flow Control | 26 | Clay County Utility Authority
WM_VALVE_4 | C9 | 407755.337 | 2087346.173 | 26.424 | Gate Valve | Turn left to open valve | 6" | 2023 | Mechanical Joint | Water | 2500-1 | American Flow Control | 26 | Clay County Utility Authority
WM_VALVE_5 | C9 | 407764.606 | 2087345.022 | 26.46 | Gate Valve | Turn left to open valve | 8" | 2023 | Mechanical Joint | Water | 2500-1 | American Flow Control | 26 | Clay County Utility Authority
WM_VALVE_6 | C9 | 407767.722 | 2087348.291 | 26.355 | Gate Valve | Turn left to open valve | 8" | 2023 | Mechanical Joint | Water | 2500-1 | American Flow Control | 26 | Clay County Utility Authority
WM_VALVE_7 | C13 | 405429.491 | 2088286.161 | 21.79 | Gate Valve | Turn left to open valve | 12" | 2023 | Mechanical Joint | Water | 2500-1 | American Flow Control | 38 | Clay County Utility Authority
WM_VALVE_8 | C15 | 406426.594 | 2088167.364 | 21.81 | Gate Valve | Turn left to open valve | 12" | 2023 | Mechanical Joint | Water | 2500-1 | American Flow Control | 38 | Clay County Utility Authority
WM_VALVE_9 | C17 | 407533.677 | 2088069.15 | 21.35 | Gate Valve | Turn left to open valve | 8" | 2023 | Mechanical Joint | Water | 2500-1 | American Flow Control | 26 | Clay County Utility Authority
WM_VALVE_10 | C17 | 407950.646 | 2088042.211 | 23 | Gate Valve | Turn left to open valve | 12" | 2023 | Mechanical Joint | Water | 2500-1 | American Flow Control | 38 | Clay County Utility Authority
WM_VALVE_11 | C10 | 407678.396 | 2087827.852 | 27.26 | Curbstop - (1/4 turn, lock & wing) | Turn left to open valve | 1-1/2" | 2023 | Mechanical Joint | Water | 2500-1 | American Flow Control | 0.5 | Clay County Utility Authority
RE_VALVE_1 | C8 | 407473.267 | 2087901.169 | 25.037 | Gate Valve | Turn left to open valve | 4" | 2023 | Mechanical Joint | Reuse | 2500-1 | American Flow Control | 14 | Clay County Utility Authority
RE_VALVE_2 | C8 | 407476.884 | 2087904.317 | 25.248 | Gate Valve | Turn left to open valve | 4" | 2023 | Mechanical Joint | Reuse | 2500-1 | American Flow Control | 14 | Clay County Utility Authority
RE_VALVE_3 | C9 | 407830.119 | 2087281.169 | 25.715 | Gate Valve | Turn left to open valve | 4" | 2023 | Mechanical Joint | Reuse | 2500-1 | American Flow Control | 14 | Clay County Utility Authority
RE_VALVE_4 | C9 | 407827.198 | 2087278.127 | 25.535 | Gate Valve | Turn left to open valve | 4" | 2023 | Mechanical Joint | Reuse | 2500-1 | American Flow Control | 14 | Clay County Utility Authority
RE_VALVE_5 | C13 | 405428.355 | 2088278.494 | 20.69 | Gate Valve | Turn left to open valve | 12" | 2023 | Mechanical Joint | Reuse | 2500-1 | American Flow Control | 38 | Clay County Utility Authority
RE_VALVE_6 | C15 | 406425.494 | 2088159.526 | 20.69 | Gate Valve | Turn left to open valve | 12" | 2023 | Mechanical Joint | Reuse | 2500-1 | American Flow Control | 38 | Clay County Utility Authority
RE_VALVE_7 | C17 | 407471.531 | 2088069.525 | 20 | Gate Valve | Turn left to open valve | 4" | 2023 | Mechanical Joint | Reuse | 2500-1 | American Flow Control | 14 | Clay County Utility Authority
RE_VALVE_8 | C17 | 407950.03 | 2088037.245 | 21.7 | Gate Valve | Turn left to open valve | 10" | 2023 | Mechanical Joint | Reuse | 2500-1 | American Flow Control | 32 | Clay County Utility Authority
FM_VALVE_1 | C13 | 405427.521 | 2088272.542 | 19.42 | Gate Valve | Turn left to open valve | 8" | 2023 | Mechanical Joint | Force Main | 2500-1 | American Flow Control | 26 | Clay County Utility Authority
FM_VALVE_2 | C15 | 406424.276 | 2088154.26 | 19.23 | Gate Valve | Turn left to open valve | 8" | 2023 | Mechanical Joint | Force Main | 2500-1 | American Flow Control | 26 | Clay County Utility Authority
FM_VALVE_3 | C17 | 407460.752 | 2088065.563 | 19.39 | Gate Valve | Turn left to open valve | 4" | 2023 | Mechanical Joint | Force Main | 2500-1 | American Flow Control | 14 | Clay County Utility Authority
FM_VALVE_4 | C17 | 407949.761 | 2088032.441 | 20.13 | Gate Valve | Turn left to open valve | 6" | 2023 | Mechanical Joint | Force Main | 2500-1 | American Flow Control | 20 | Clay County Utility Authority
FM_VALVE_5 | C12 | 405256.03 | 2087932.103 | 24.811 | ARV |  | 2" | 2023 | Mechanical Joint | Force Main |  |  |  | Clay County Utility Authority
FM_VALVE_6 | C10 | 407687.639 | 2087785.955 | 27.189 | Gate Valve | Turn left to open valve | 4" | 2023 | Mechanical Joint | Force Main | 2500-1 | American Flow Control | 14 | Clay County Utility Authority

## Bends
Feature ID | Plan Sheet Number | Main Type | Easting (X) | Northing (Y) | Elevation | Fitting Size | Material Type | Year of Installation | Type of Joint Fitting | Bend Used To Avoid Conflict | Degree Of Bend | Material Transition | Current Doc. # (CCUA Use Only)
WM_22.5BEND_1 | C8 | Water | 407530.12 | 2088029.529 | 23.407 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_2 | C8 | Water | 407521.104 | 2088011.416 | 24.043 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_45BEND_1 | C8 | Water | 407522.384 | 2087900.717 | 23.684 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
WM_45BEND_2 | C8 | Water | 407545.642 | 2087878.655 | 24.076 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
WM_45BEND_3 | C8 | Water | 407535.228 | 2087833.53 | 24.621 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
WM_45BEND_4 | C8 | Water | 407522.774 | 2087818.884 | 24.47 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
WM_22.5BEND_3 | C9 | Water | 407528.521 | 2087405.081 | 25.607 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_4 | C9 | Water | 407541.755 | 2087374.109 | 25.218 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_5 | C9 | Water | 407560.158 | 2087356.312 | 25.232 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_6 | C9 | Water | 407593.081 | 2087343.09 | 24.87 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_7 | C10 | Water | 407716.307 | 2087835.562 | 25.082 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_8 | C10 | Water | 407738.759 | 2087826.822 | 25.029 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_9 | C11 | Water | 407763.49 | 2087802.491 | 25.112 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_10 | C11 | Water | 407774.961 | 2087775.845 | 24.772 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_45BEND_5 | C11 | Water | 407779.755 | 2087366.929 | 24.492 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
WM_45BEND_6 | C11 | Water | 407767.969 | 2087354.498 | 24.285 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
WM_45BEND_7 | C11 | Water | 407768.476 | 2087301.88 | 24.718 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
WM_45BEND_8 | C11 | Water | 407780.927 | 2087288.302 | 24.707 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
WM_22.5BEND_11 | C12 | Water | 405272.195 | 2087486.363 | 21.83 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_22.5BEND_12 | C12 | Water | 405271.337 | 2087488.813 | 21.79 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
WM_45BEND_9 | C13 | Water | 405271.192 | 2088302.48 | 19.57 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
WM_45BEND_10 | C13 | Water | 405274.226 | 2088305.112 | 19.59 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
WM_45BEND_11 | C17 | Water | 407343.179 | 2088075.896 | 21.11 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
WM_45BEND_12 | C17 | Water | 407355.438 | 2088086.283 | 21.2 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_BEND_TURNED_1 | C8 | Reuse | 407480.365 | 2087904.398 | 24.08 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_2 | C8 | Reuse | 407483.905 | 2087904.339 | 20.795 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_3 | C8 | Reuse | 407489.884 | 2087904.24 | 20.674 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_4 | C8 | Reuse | 407493.358 | 2087904.358 | 24.089 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_45BEND_1 | C8 | Reuse | 407509.549 | 2087903.776 | 23.803 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_BEND_TURNED_5 | C8 | Reuse | 407529.373 | 2087886.493 | 23.749 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_6 | C8 | Reuse | 407530.482 | 2087885.364 | 22.223 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_45BEND_2 | C8 | Reuse | 407533.046 | 2087882.934 | 22.098 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_BEND_TURNED_7 | C8 | Reuse | 407542.61 | 2087882.586 | 22.131 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_8 | C8 | Reuse | 407544.361 | 2087882.529 | 23.82 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_22.5BEND_1 | C10 | Reuse | 407717.313 | 2087884.487 | 24.692 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
RE_22.5BEND_2 | C10 | Reuse | 407769.877 | 2087864.034 | 24.935 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
RE_22.5BEND_3 | C11 | Reuse | 407802.735 | 2087831.215 | 24.883 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
RE_22.5BEND_4 | C11 | Reuse | 407823.562 | 2087782.566 | 24.584 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
RE_22.5BEND_5 | C9 | Reuse | 407479.801 | 2087395.182 | 24.899 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
RE_22.5BEND_6 | C9 | Reuse | 407500.491 | 2087346.555 | 24.807 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
RE_22.5BEND_7 | C9 | Reuse | 407534.264 | 2087314.513 | 24.112 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
RE_22.5BEND_8 | C9 | Reuse | 407586.426 | 2087293.941 | 24.165 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
RE_45BEND_3 | C9 | Reuse | 407764.986 | 2087296.664 | 24.288 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_BEND_TURNED_9 | C9 | Reuse | 407776.348 | 2087284.525 | 24.008 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_10 | C9 | Reuse | 407777.749 | 2087283.216 | 22.187 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_45BEND_4 | C9 | Reuse | 407782.949 | 2087278.391 | 22.268 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_BEND_TURNED_11 | C9 | Reuse | 407785.484 | 2087278.419 | 22.528 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_12 | C9 | Reuse | 407787.349 | 2087278.232 | 24.493 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_22.5BEND_9 | C12 | Reuse | 405262.057 | 2087483.898 | 19.92 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
RE_22.5BEND_10 | C12 | Reuse | 405264.19 | 2087488.977 | 20.81 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
RE_BEND_TURNED_13 | C13 | Reuse | 405262.868 | 2088270.994 | 18.76 | 12" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_14 | C13 | Reuse | 405262.763 | 2088274.547 | 15.94 | 12" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_45BEND_5 | C13 | Reuse | 405263.391 | 2088288.344 | 15.87 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_45BEND_6 | C13 | Reuse | 405272.511 | 2088296.99 | 15.8 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_BEND_TURNED_15 | C13 | Reuse | 405279.458 | 2088296.916 | 15.96 | 12" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_16 | C13 | Reuse | 405282.933 | 2088296.823 | 18.72 | 12" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_45BEND_7 | C15 | Reuse | 406373.469 | 2088166.221 | 18.81 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_45BEND_8 | C15 | Reuse | 406377.72 | 2088169.558 | 18.74 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_45BEND_9 | C15 | Reuse | 406416.836 | 2088164.526 | 18.95 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_45BEND_10 | C15 | Reuse | 406420.105 | 2088160.416 | 18.96 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_45BEND_11 | C17 | Reuse | 407342.163 | 2088068.296 | 20.15 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_45BEND_12 | C17 | Reuse | 407357.121 | 2088081.279 | 20.23 | 12" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
RE_BEND_TURNED_17 | C17 | Reuse | 407527.322 | 2088068.74 | 20.14 | 10" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_18 | C17 | Reuse | 407530.347 | 2088068.495 | 17.6 | 10" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_19 | C17 | Reuse | 407536.465 | 2088068.091 | 17.51 | 10" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
RE_BEND_TURNED_20 | C17 | Reuse | 407539.461 | 2088068.008 | 20.11 | 10" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
FM_90BEND_1 | C8 | Force Main | 407466.007 | 2087890.094 | 22.908 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 90 Degree | No
FM_BEND_TURNED_1 | C8 | Force Main | 407469.753 | 2087889.733 | 22.57 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
FM_BEND_TURNED_2 | C8 | Force Main | 407472.056 | 2087889.754 | 20.332 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
FM_BEND_TURNED_3 | C8 | Force Main | 407488.386 | 2087889.555 | 20.305 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
FM_BEND_TURNED_4 | C8 | Force Main | 407490.576 | 2087889.77 | 22.182 | 4" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
FM_90BEND_2 | C10 | Force Main | 407684.124 | 2087891.791 | 22.646 | 4" | Ductile Iron | 2023 | Mechanical Joint | No | 90 Degree | No
FM_BEND_TURNED_5 | C17 | Force Main | 407466.708 | 2088068.208 | 18.9 | 6" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
FM_BEND_TURNED_6 | C17 | Force Main | 407468.696 | 2088067.91 | 16.87 | 6" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
FM_BEND_TURNED_7 | C17 | Force Main | 407474.828 | 2088067.378 | 17.01 | 6" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
FM_BEND_TURNED_8 | C17 | Force Main | 407476.876 | 2088067.277 | 18.82 | 6" | Ductile Iron | 2023 | Mechanical Joint | Yes, Type "B" Crossing | 45 Degree | No
FM_22.5BEND_1 | C12 | Force Main | 405252.628 | 2087482.716 | 19.87 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
FM_22.5BEND_2 | C12 | Force Main | 405256.523 | 2087492.416 | 19.74 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 22-1/2 Degree | No
FM_45BEND_1 | C13 | Force Main | 405255.592 | 2088269.891 | 17.71 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
FM_45BEND_2 | C13 | Force Main | 405276.59 | 2088290.129 | 17.65 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
FM_45BEND_3 | C15 | Force Main | 406372.831 | 2088160.463 | 17.46 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
FM_45BEND_4 | C15 | Force Main | 406376.734 | 2088163.439 | 17.82 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
FM_45BEND_5 | C15 | Force Main | 406416.088 | 2088158.618 | 17.94 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
FM_45BEND_6 | C15 | Force Main | 406419.279 | 2088154.841 | 17.7 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
FM_45BEND_7 | C17 | Force Main | 407342.886 | 2088062.355 | 19.03 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No
FM_45BEND_8 | C17 | Force Main | 407359.127 | 2088076.097 | 18.92 | 8" | Ductile Iron | 2023 | Mechanical Joint | No | 45 Degree | No

## Fittings
Feature ID | Plan Sheet Number | Easting (X) | Northing (Y) | Elevation | Main Type | Fitting Type | Fitting Size | Material Type | Year of Installation | Type of Joint Fitting | Owned By | Material Transition | Current Doc. # (CCUA Use Only)
WM_TEE_1 | C8 | 407546.165 | 2087833.614 | 24.336 | Water | Tee | 8"X8" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
WM_TEE_2 | C8 | 407529.894 | 2087827.247 | 24.637 | Water | Tee | 8"X6" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
WM_TEE_3 | C9 | 407755.409 | 2087344.933 | 25.44 | Water | Tee | 8"X6" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
WM_TEE_4 | C9 | 407767.78 | 2087344.985 | 24.904 | Water | Tee | 8"X8" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
WM_REDUCER_1 | C9 | 407767.802 | 2087341.559 | 24.832 | Water | Reducer | 8"X4" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
WM_REDUCER_2 | C9 | 407780.507 | 2087283.757 | 24.53 | Water | Reducer | 4"X2" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
WM_FLUSHHYD_1 | C11 | 407810.833 | 2087118.753 | 23.862 | Water | Cap tapped with flushing hydrant | 2" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
WM_TEE_5 | C17 | 407533.866 | 2088073.13 | 21.01 | Water | Tee | 12"X8" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
WM_PLUG_1 | C17 | 407953.391 | 2088042.013 | 21.12 | Water | Cap tapped | 12"X2" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
WM_FLUSHHYD_2 | C17 | 407953.391 | 2088042.013 | 21.12 | Water | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
WM_FLUSHHYD_3 | C10 | 407673.684 | 2087767.737 | 31.211 | Water | Flushing hydrant (or blow-off) | 1-1/2" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
WM_TEE_6 | C10 | 407678.319 | 2087835.215 | 25.15 | Water | Tee | 8"X1-1/2" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | YES
RE_TEE_1 | C8 | 407473.392 | 2087904.289 | 24.532 | Reuse | Tee | 4"X4" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
RE_TEE_2 | C11 | 407830.216 | 2087278.213 | 24.728 | Reuse | Tee | 4"X4" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
RE_REDUCER_1 | C11 | 407830.23 | 2087275.9 | 24.76 | Reuse | Reducer | 4"X2" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
RE_FLUSHHYD_1 | C11 | 407831.342 | 2087147.501 | 24.047 | Reuse | Cap tapped with flushing hydrant | 2" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
RE_TEE_3 | C17 | 407471.966 | 2088072.941 | 20 | Reuse | Tee | 12"X4" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
RE_REDUCER_2 | C17 | 407485.926 | 2088071.792 | 20.46 | Reuse | Reducer | 12"X10" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
RE_PLUG_1 | C17 | 407952.741 | 2088036.966 | 20.1 | Reuse | Cap tapped | 10"X2" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
RE_FLUSHHYD_2 | C17 | 407954.51 | 2088036.733 | 22.86 | Water | Flushing hydrant (or blow-off) | 2" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
FM_REDUCER_1 | C12 | 405251.814 | 2087465.862 | 19.65 | Force Main | Reducer | 10"X8" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
FM_TEE_1 | C17 | 407461.12 | 2088068.765 | 19.1 | Force Main | Tee | 8"X4" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
FM_REDUCER_2 | C17 | 407464.003 | 2088068.468 | 18.97 | Force Main | Reducer | 8"X6" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No
FM_PLUG_1 | C17 | 407952.401 | 2088032.327 | 18.92 | Force Main | Cap tapped | 6"X2" | Ductile Iron | 2023 | Mechanical Joint | Clay County Utility Authority | No

## Locate Wire
Feature ID | Plan Sheet Number | Easting (X) | Northing (Y) | Main Type | Owned By | Current Doc. # (CCUA Use Only)
WM_LWBOX_1 | C13 | 405389.927 | 2088290.434 | Water | Clay County Utility Authority
WL_LWBOX_2 | C15 | 405802.441 | 2088241.798 | Water | Clay County Utility Authority
WL_LWBOX_3 | C15 | 406237.43 | 2088189.93 | Water | Clay County Utility Authority
WL_LWBOX_4 | C17 | 406622.955 | 2088143.844 | Water | Clay County Utility Authority
WL_LWBOX_5 | C17 | 407069.17 | 2088096.763 | Water | Clay County Utility Authority
WL_LWBOX_6 | C12 | 405271.027 | 2087940.564 | Water | Clay County Utility Authority
WL_LWBOX_7 | C10 | 407716.307 | 2087835.562 | Water | Clay County Utility Authority
RE_LWBOX_1 | C13 | 405388.355 | 2088283.526 | Reuse | Clay County Utility Authority
RE_LWBOX_2 | C15 | 405801.507 | 2088233.509 | Reuse | Clay County Utility Authority
RE_LWBOX_3 | C15 | 406236.554 | 2088182.34 | Reuse | Clay County Utility Authority
RE_LWBOX_4 | C17 | 406621.708 | 2088136.012 | Reuse | Clay County Utility Authority
RE_LWBOX_5 | C17 | 407067.966 | 2088089.419 | Reuse | Clay County Utility Authority
RE_LWBOX_6 | C12 | 405263.872 | 2087940.607 | Reuse | Clay County Utility Authority
FM_LWBOX_1 | C13 | 405391.695 | 2088276.321 | Force Main | Clay County Utility Authority
FM_LWBOX_2 | C15 | 405801.184 | 2088228.009 | Force Main | Clay County Utility Authority
FM_LWBOX_3 | C15 | 406236.15 | 2088176.713 | Force Main | Clay County Utility Authority
FM_LWBOX_4 | C17 | 406623.336 | 2088130.164 | Force Main | Clay County Utility Authority
FM_LWBOX_5 | C17 | 407067.616 | 2088083.572 | Force Main | Clay County Utility Authority
FM_LWBOX_6 | C12 | 405256.657 | 2087940.087 | Force Main | Clay County Utility Authority

## Lift Station (hidden)
Feature ID | Plan Sheet Number | Easting (X) | Northing (Y) | Inv. Elevation In | Inv. Elevation In | Inv. Elevation In | Inv. Elevation Out | Top Elevation | Bottom Elevation | Lift Station Diameter | Owned By | Current Doc. # (CCUA Use Only)

## Manhole
Feature ID | Plan Sheet Number | Design Manhole Number | Easting (X) | Northing (Y) | Rim Elevation | Invert Elevation North | Invert El. Northeast | Invert El. East | Invert El. Southeast | Invert El. South | Invert El. Southwest | Invert El. West | Invert El. Northwest | Year of Installation | Current Doc. # (CCUA Use Only)
SS_MANHOLE_1 | C8 | 11 | 407497.158 | 2088008.429 | 27.03 |  |  |  |  | 19.17 |  |  |  | 2023
SS_MANHOLE_2 | C8 | 3 | 407497.933 | 2087857.409 | 27.26 | 18.55 |  | 18.46 |  | 18.53 |  |  |  | 2023
SS_MANHOLE_3 | C9 | 2 | 407502.942 | 2087497.839 | 28.36 | 21.35 |  |  |  | 23.43 |  |  |  | 2023
SS_MANHOLE_4 | C9 | 1 | 407503.047 | 2087462.139 | 28.22 | 23.57 |  |  | 23.7 |  |  |  |  | 2023
SS_MANHOLE_5 | C10 | 4 | 407698.439 | 2087860.523 | 28.37 |  |  | 18.72 |  | 17.6 |  | 17.66 |  | 2023
SS_MANHOLE_6 | C10 | 9 | 407753.53 | 2087844.317 | 28.53 |  |  |  | 19 |  |  | 18.94 |  | 2023
SS_MANHOLE_7 | C11 | 8 | 407799.345 | 2087780.169 | 28.2 |  |  |  |  | 19.39 |  |  | 19.32 | 2023
SS_MANHOLE_8 | C9 | 10 | 407637.359 | 2087318.877 | 28.04 |  |  | 23.16 |  |  | 23.35 |  |  | 2023
SS_MANHOLE_9 | C11 | 7 | 407802.74 | 2087510.088 | 27.72 | 20.58 |  |  |  | 20.68 |  |  |  | 2023
SS_MANHOLE_10 | C11 | 6 | 407804.831 | 2087320.574 | 27.97 | 21.45 |  |  |  | 21.54 |  | 22.48 |  | 2023
SS_MANHOLE_11 | C11 | 5 | 407807.127 | 2087148.337 | 27.06 | 22.21 |  |  | 22.4 |  |  |  |  | 2023
SS_MANHOLE_12 | C10 | WET WELL | 407699.566 | 2087780.22 | 29.53 | 17.08 | [7 empty] | 2023

## Cleanout
Feature ID | Plan Sheet Number | Cleanout Size | Inv. Elevation | Top Elevation | Year of Installation | Owned By | Current Doc. # (CCUA Use Only)

## Ranges For List Pulldown
Clay County Utility Authority | Water | Unknown | 4" | UNKNOWN | 4" | WM_FIREHYD_1 | Gate Valve | 1/2" | 1/2" | Reducer
Others | Sewer | Turn left to open valve | 5" (Fire Dept. Connection) | 2023 | 6" | WM_FIREHYD_2 | Curbstop - (1/4 turn, lock & wing) | 3/4" | 3/4" | Tee
Unknown | Force Main | Turn right to open valve | 6" | 2022 | 8" | WM_FIREHYD_3 | Wheel Valve | 1" | 1" | Tapping Sleeve
| Reuse |  |  | 2021 | 10" | WM_FIREHYD_4 | Butterfly Valve | 1-1/4" | 1-1/4" | Hydrant Tee
|  |  |  | 2022 | 12" | WM_FIREHYD_5 | Ball Valve - (1/4 turn) | 1-1/2" | 1-1/2" | Cross
|  |  |  | 2019 | 14" | WM_FIREHYD_6 | Plug Valve - (1/4 turn) | 1-3/4" | 1-3/4" | Service Saddle
|  |  |  | 2018 | 16" | WM_FIREHYD_7 | Wedge Valve | 2" | 2" | Wye
|  | Unknown |  |  | 18" | WM_FIREHYD_8 | Knife Valve | 2-1/2" | 2-1/2" | Adapter Coupling
Unknown |  | PVC |  |  | 20" | WM_FIREHYD_9 | Check Valve | 3" | 3" | HDPE / PVC Adapter
Flanged Joint |  | PVC C-900 |  |  | 22" | WM_FIREHYD_10 | Swing Check Valve | 3-1/2" | 3-1/2" | Sleeve
Mechanical Joint |  | Ductile Iron |  |  |  | WM_FIREHYD_11 | Spring & Lever Check Valve | 4" | 4" | Cap used to end main
Push-on |  | Clay |  |  |  | WM_FIREHYD_12 | Double Detector Check Valve | 5" | 5" | Cap tapped
Glued |  | Galvanized |  |  |  | WM_FIREHYD_13 | Rise & Stem Valve | 6" | 6" | Plug used to end main
Thread / Slip |  | Stainless Steel |  |  |  | WM_FIREHYD_14 | Gear Reduction Valve | 8" | 8" | Main ends with tapped cap
Wrap around |  | Bronze |  |  |  | WM_FIREHYD_15 | Tapping Valve | 10" | 10" | Cap tapped with flushing hydrant
|  | Aluminum |  |  |  | WM_FIREHYD_16 | Altitude Valve | 12" | 12" | Flushing hydrant (or blow-off)
|  | Cement Asbestos |  |  |  | WM_FIREHYD_17 |  | 14" | 14" | Main ends with service connection
|  | Copper |  |  |  | WM_FIREHYD_18 |  | 16" | 16" | Cap tapped
|  | Cast Iron |  |  |  | WM_FIREHYD_19 |  | 18" | 18"
|  | HDPE |  |  |  | WM_FIREHYD_20 | Unknown | 20"
|  | Fusible C-900 PVC |  |  |  |  | Flanged Joint | 22" |  | Unknown
|  | Fusible C-905 PVC |  |  |  |  | Mechanical Joint | 24" |  | 11-1/4 Degree
|  | Gray Iron |  |  |  |  | Push-on | 26" |  | 22-1/2 Degree
|  | Steel |  |  |  |  | Glued | 28" |  | 45 Degree
|  | PVC-C100 |  |  |  |  | Thread / Slip | 30" |  | 90 Degree
[7 empty] | Wrap around | 32"
|  |  | 3" |  |  |  |  | 34"
| Unknown |  | 4" |  |  | Waterous Hydrant |  | 36" |  | No
| 1/4" |  | 6" |  |  | Mueller Co. |  |  |  | Yes, Turned
| 1/4"X1/4" |  | 8" |  |  | AMERICAN FLOW CONTROL |  |  |  | Yes, Type "B" Crossing
| 1/2" |  | 10" |  |  | Clow Valve Co. |  |  |  | Unknown
| 1/2"X1/4" |  | 12" |  |  | M&H Valve Co.
| 1/2"X1/2" |  | 14"
| 5/8" |  | 16"
5/8"X1/2"
5/8"X5/8"
| 5/8"X3/4" |  | No
| 3/4" |  | Yes |  |  |  | Bend 11.25°
| 3/4"X1/4" |  | Unknown / Not applicable |  |  |  | Bend 22.5°
| 3/4"X1/2" | [5 empty] | Bend 45°
| 3/4"X3/4" | [5 empty] | Bend 90°
| 1" | [5 empty] | Type "B" Bend 11.25°
| 1"X1/4" | [5 empty] | Type "B" Bend 22.5°
| 1"X1/2" | [5 empty] | Type "B" Bend 45°
| 1"X3/4" | [5 empty] | Type "B" Bend 90°
1"X1"
1-1/4"
1-1/4"X3/4"
1-1/4"X1"
1-1/4"X1-1/4"
1-1/2"
1-1/2"X3/4"
1-1/2"X1"
1-1/2"X1-1/4"
1-1/2"X1-1/2"
2"
2"X1/4"
2"X1/2"
2"X3/4"
2"X1"
2"X1-1/4"
2"X1-1/2"
2"X2"
2-1/2"
2-1/2"X3/4"
2-1/2"X1"
2-1/2"X1-1/2"
2-1/2"X2"
2-1/2"X2-1/2"
3"
3"X3/4"
3"X1"
3"X1-1/4"
3"X1-1/2"
3"X1-3/4"
3"X2"
3"X2-1/4"
3"X2-1/2"
3"X2-3/4"
3"X3"
4"
4"X3/4"
4"X1"
4"X1-1/2"
4"X2"
4"X2-1/2"
4"X3"
4"X4"
5"
6"
6"X3/4"
6"X1"
6"X1-1/2"
6"X2"
6"X2-1/2"
6"X3"
6"X4"
6"X6"
8"
8"X3/4"
8"X1"
8"X1-1/2"
8"X2"
8"X2-1/2"
8"X3"
8"X4"
8"X6"
8"X8"
10"
10"X3/4"
10"X1"
10"X1-1/2"
10"X2"
10"X2-1/2"
10"X3"
10"X4"
10"X6"
10"X8"
10"X10"
12"
12"X3/4"
12"X1"
12"X1-1/2"
12"X2"
12"X2-1/2"
12"X3"
12"X4"
12"X6"
12"X8"
12"X10"
12"X12"
14"
14"X3/4"
14"X1"
14"X1-1/2"
14"X2"
14"X2-1/2"
14"X3"
14"X4"
14"X6"
14"X8"
14"X10"
14"X12"
14"X14"
16"
16"X3/4"
16"X1"
16"X1-1/2"
16"X2"
16"X2-1/2"
16"X3"
16"X4"
16"X6"
16"X8"
16"X10"
16"X12"
16"X14"
16"X16"
18"
18"X3/4"
18"X1"
18"X1-1/2"
18"X2"
18"X2-1/2"
18"X3"
18"X4"
18"X6"
18"X8"
18"X10"
18"X12"
18"X14"
18"X16"
18"X18"
20"
20"X3/4"
20"X1"
20"X1-1/2"
20"X2"
20"X2-1/2"
20"X3"
20"X4"
20"X6"
20"X8"
20"X10"
20"X12"
20"X14"
20"X16"
20"X18"
20"X20"
24"
24"X3/4"
24"X1"
24"X1-1/2"
24"X2"
24"X2-1/2"
24"X3"
24"X4"
24"X6"
24"X8"
24"X10"
24"X12"
24"X14"
24"X16"
24"X18"
24"X20"
24"X24"
30"
30"X3/4"
30"X1"
30"X1-1/2"
30"X2"
30"X2-1/2"
30"X3"
30"X4"
30"X6"
30"X8"
30"X10"
30"X12"
30"X14"
30"X16"
30"X18"
30"X20"
30"X24"
30"X30"
36"
36"X3/4"
36"X1"
36"X1-1/2"
36"X2"
36"X2-1/2"
36"X3"
36"X4"
36"X6"
36"X8"
36"X10"
36"X12"
36"X14"
36"X16"
36"X18"
36"X20"
36"X24"
36"X30"
36"X36"
48"
48"X3/4"
48"X1"
48"X1-1/2"
48"X2"
48"X2-1/2"
48"X3"
48"X4"
48"X6"
48"X8"
48"X10"
48"X12"
48"X14"
48"X16"
48"X18"
48"X20"
48"X24"
48"X30"
48"X36"
48"X48"
Uncommon sizes for service saddles listed below
4"X1-1/4"
6"X1-1/4"
8"X1-1/4"
10"X1-1/4"
12"X1-1/4"
14"X1-1/4"
16"X1-1/4"
18"X1-1/4"
20"X1-1/4"
24"X1-1/4"
30"X1-1/4"
36"X1-1/4"
48"X1-1/4"
Uncommon sizes for tees listed below (RUN X RUN X BRANCH)
1/4"X1/4"X1/2"
1/2"X1/4"X1/4"
1/2"X1/4"X1/2"
1/2"X1/2"X3/4"
3/4"X1/2"X1/4"
3/4"X3/4"X1"
3/4"X3/4"X1-1/4"
3/4"X3/4"X1-1/2"
1"X1/2"X1/2"
1"X1/2"X3/4"
1"X1/2"X1"
1"X3/4"X1/2"
1"X3/4"X3/4"
1"X3/4"X1"
1"X1"X1-1/2"
1-1/4"X1/2"X1/2"
1-1/4"X1/2"X3/4"
1-1/4"X1/2"X1"
1-1/4"X1/2"X1-1/4"
1-1/4"X3/4"X1/2"
1-1/4"X3/4"X3/4"
1-1/4"X3/4"X1"
1-1/4"X3/4"X1-1/2"
1-1/4"X1"X1/2"
1-1/4"X1"X3/4"
1-1/4"X1"X1"
1-1/4"X1"X1-1/2"
1-1/4"X1-1/4"X1-1/2"
1-1/4"X1-1/4"X2"
1-1/4"X1-1/2"X1-1/4"
1-1/4"X1-1/2"X2"
1-1/2"X1/2"X1/2"
1-1/2"X1/2"X3/4"
1-1/2"X1/2"X1"
1-1/2"X1/2"X1-1/2"
1-1/2"X3/4"X1/2"
1-1/2"X3/4"X3/4"
1-1/2"X3/4"X1"
1-1/2"X3/4"X1-1/2"
1-1/2"X1"X1/2"
1-1/2"X1"X3/4"
1-1/2"X1"X1"
1-1/2"X1"X1-1/2"
1-1/2"X1-1/2"X2"
2"X1-1/2"X1-1/2"
2"X1-1/2"X2"
2"X2"X2-1/2"
2"X2"X3"
2-1/2"X2"X2"
3"X3"X4"
4"X4"X6"
6"X4"X4"
6"X4"X6"
6"X6"X8"
8"X6"X4"
8"X8"X10"
8"X8"X12"
10"X6"X6"
10"X6"X8"
10"X6"X10"
10"X8"X6"
10"X8"X8"
10"X8"X10"
10"X10"X12"
12"X6"X6"
12"X6"X8"
12"X6"X10"
12"X6"X12"
12"X8"X6"
12"X8"X8"
12"X8"X10"
12"X8"X12"
12"X10"X6"
12"X10"X8"
12"X10"X10"
12"X10"X12"
Other (place in comments field)