Discipline Designator Values:

Discipline identifier (value), which is added to the layer name (e.g., CU-WATR-DOMC-PIPE-XXXX XXXX XXXX XXXX XX-ST) the value must be four characters in length (see table below).

| Designator | Description |
| --- | --- |
| C | Civil |
| CU | Civil Utilities |
| V | Survey / Mapping |
| VU | Survey / Mapping Utilities |

Layer:

AutoCAD drawing layer name, which follow the National CAD Standards (e.g., CU-WATR-DOMC-PIPE-XXXX XXXX XXXX XXXX XX-ST) the value must be four characters in length (see table below).

| Name | Color | Linetype | Description |
| --- | --- | --- | --- |
| C-ANNO-MATL | White | PHANTOM2 | Match line annotation |
| C-ANNO-NOTE | Yellow | Continuous | Note annotation |
| C-ANNO-TTLB | White | Continuous | Title block annotation |
| C-BLDG-ANNO | White | Continuous | Building annotation |
| C-BLDG-STRC | 15 | Continuous | Building structure |
| C-ESMT-ANNO | White | Continuous | Easement annotation |
| C-ESMT-LINE | White | HIDDEN | Easement line |
| C-POND-ANNO | 15 | Continuous | Pond annotation |
| C-POND-LINE | 15 | HIDDEN | Pond line |
| C-PROP-ANNO | White | Continuous | Property annotation |
| C-PROP-LINE | 53 | DASHDOT2 | Property line |
| C-ROAD-CNTR | 10 | CENTER2 | Roadway center line |
| C-ROAD-CURB | 251 | Continuous | Roadway curb / edge |
| C-ROAD-RWAY | White | PHANTOM2 | Roadway right-of-way |
| C-ROAD-SWLK | 251 | Continuous | Roadway sidewalk |
| C-STRM-ANNO | 15 | Continuous | Storm annotation |
| C-STRM-LINE | 15 | Continuous | Storm line |
| CU-ELEC-ANNO | Yellow | Continuous | Electrical annotation |
| CU-ELEC-JUNC | 14 | Continuous | Electrical junction |
| CU-ELEC-LINE | 14 | HIDDEN | Electrical line |
| CU-SSWR-FORC-ANNO | 41 | Continuous | Sewer forced annotation |
| CU-SSWR-FORC-DETL | 41 | Continuous | Sewer forced detail |
| CU-SSWR-FORC-INFS | 30 | Continuous | Sewer forced infrastructure |
| CU-SSWR-FORC-PIPE-XXXX XXXX XXXX XXXX XX-ST | 30 | Continuous | Sewer forced pipe |
| CU-SSWR-FORC-SRVC | 34 | Continuous | Sewer forced service |
| CU-SSWR-GRAV-ANNO | 81 | Continuous | Sewer gravity annotation |
| CU-SSWR-GRAV-DETL | 81 | Continuous | Sewer gravity detail |
| CU-SSWR-GRAV-INFS | GREEN | Continuous | Sewer gravity infrastructure |
| CU-SSWR-GRAV-PIPE-XXXX XXXX XXXX XXXX XX-ST | GREEN | Continuous | Sewer gravity pipe |
| CU-SSWR-GRAV-SRVC | 106 | Continuous | Sewer gravity service |
| CU-SSWR-STRC-LIFT | Yellow | Continuous | Sewer Lift Station structure |
| CU-WATR-DOMC-ANNO | 143 | Continuous | Water domestic annotation |
| CU-WATR-DOMC-DETL | 143 | Continuous | Water domestic detail |
| CU-WATR-DOMC-INFS | Cyan | Continuous | Water domestic infrastructure |
| CU-WATR-DOMC-PIPE-XXXX XXXX XXXX XXXX XX-ST | Cyan | Continuous | Water domestic pipe |
| CU-WATR-DOMC-SRVC | 154 | Continuous | Water domestic service |
| CU-WATR-RECL-ANNO | 191 | Continuous | Water reclaimed annotation |
| CU-WATR-RECL-DETL | 191 | Continuous | Water reclaimed detail |
| CU-WATR-RECL-INFS | 190 | Continuous | Water reclaimed infrastructure |
| CU-WATR-RECL-PIPE-XXXX XXXX XXXX XXXX XX-ST | 190 | Continuous | Water reclaimed pipe |
| CU-WATR-RECL-SRVC | 185 | Continuous | Water reclaimed service |

*Layers not included in list shall be added following the NCS guidelines. CCUA shall be provided a list of any new layers added.

Size Values:

Size identifier (value), which is added to the layer name (e.g., CU-WATR-DOMC-PIPE-XXXX XXXX XXXX XXXX XX-ST) the value must be four characters in length (see table below).

| Size* | Description |
| --- | --- |
| 0.25 | 1/4" |
| 0.50 | 1/2" |
| 0.75 | 3/4" |
| 1.25 | 1-1/4" |
| 1.50 | 1-1/2" |
| 1.75 | 1-3/4" |
| 2.00 | 2" |
| 2.25 | 2-1/4" |
| 2.50 | 2-1/2" |
| 3.00 | 3" |
| 4.00 | 4" |
| 6.00 | 6" |
| 8.00 | 8" |
| 10.0 | 10" |
| 12.0 | 12" |
| 14.0 | 14" |
| 16.0 | 16" |
| 18.0 | 18" |
| 20.0 | 20" |
| 24.0 | 24" |
| 30.0 | 30" |
| 36.0 | 36" |

*Values not included in list shall be added and abbreviated with four (4) characters. CCUA shall be provided a list of any new values added.

Material Values:

Material identifier (value), which is added to the layer name (e.g., CU-WATR-DOMC-PIPE-XXXX XXXX XXXX XXXX XX-ST) the value must be four characters in length (see table below).

| Identifier* | Description |
| --- | --- |
| CIRN | Cast Iron |
| DIRN | Ductile Iron |
| FPVC | Fusible Polyvinyl Chloride |
| HDPE | High-Density Polyethylene |
| PVC~ | Polyvinyl Chloride |
| SSTL | Stainless Steel |
| STEL | Steel |

*Values not included in list shall be added and abbreviated with four (4) characters. CCUA shall be provided a list of any new values added.

Class Values:

Class identifier (value), which is added to the layer name (e.g., CU-WATR-DOMC-PIPE-XXXX XXXX XXXX XXXX XX-ST) the value must be four characters in length (see table below).

| Designator* | Description |
| --- | --- |
| 0000 | Not Applicable |
| 0051 | Class 51 |
| 0150 | Class 150 |
| 0300 | Class 300 |
| 0900 | Class 900 |
| 0905 | Class 905 |

*Values not included in list shall be added and abbreviated with four (4) characters. CCUA shall be provided a list of any new values added.

Rating Values:

Rating identifier (value), which is added to the layer name (e.g., CU-WATR-DOMC-PIPE-XXXX XXXX XXXX XXXX XX-ST) the value must be four characters in length (see table below).

| Identifier* | Description |
| --- | --- |
| 0000 | Not Applicable |
| DR09 | Dimension Ratio (DR) is 9 |
| DR11 | Dimension Ratio (DR) is 11 |
| DR18 | Dimension Ratio (DR) is 18 |
| DR21 | Dimension Ratio (DR) is 21 |
| DR25 | Dimension Ratio (DR) is 25 |
| DR26 | Dimension Ratio (DR) is 26 |
| DR35 | Dimension Ratio (DR) is 35 |
| SC40 | Schedule 40 |
| SC80 | Schedule 80 |

*Values not included in list shall be added and abbreviated with four (4) characters. CCUA shall be provided a list of any new values added.

Construction Values:

Construction identifier (value), which is added to the layer name (e.g., CU-WATR-DOMC-PIPE-XXXX XXXX XXXX XXXX XX-ST) the value must be four characters in length (see table below).

| Identifier* | Description |
| --- | --- |
| DD | Directional Drill |
| JB | Jack and Bore |
| OC | Open-cut |
| PB | Pipe Burst |
| PP | Pipe Push |

*Values not included in list shall be added and abbreviated with two (2) characters. CCUA shall be provided a list of any new values added.

Status Field Codes:

Status identifier (code), which is added to the end of the layer name (e.g., CU-WATR-DOMC-PIPE-XXXX XXXX XXXX XXXX XX-ST)

| Code | Description |
| --- | --- |
| A | Abandoned |
| D | Existing to demolish |
| E | Existing to remain |
| F | Future work |
| M | Items to be moved |
| N | New work |
| O | Owned by others |

Examples:

Layer Name

CU-SSWR-GRAV-PIPE-4.00 PVC~ 0000 DR26 OC

CU-SSWR-FORC-PIPE-4.00 PVC~ 0900 DR18 OC

CU-SSWR-FORC-PIPE-8.00 DIRN 0051 DR18 OC

CU-WATR-DOMC-PIPE-2.00 PVC~ 0000 SC80 OC

CU-WATR-DOMC-PIPE-36.0 PVC~ 0900 DR21 OC

CU-WATR-RECL-PIPE-4.00 PVC~ 0900 DR21 OC